Project Report

Model File: koju 2, Revision 0

26/09/2026

| Table of Contents |  |
| --- | --- |
| 1. Structure Data | 4 |
| 1.1 Story Data | 4 |
| 1.2 Grid Data | 4 |
| 1.3 Point Coordinates | 4 |
| 1.4 Line Connectivity | 6 |
| 1.5 Area Connectivity | 8 |
| 1.6 Mass | 11 |
| 2. Properties | 13 |
| 2.1 Materials | 13 |
| 2.2 Frame Sections | 13 |
| 2.3 Shell Sections | 13 |
| 2.4 Reinforcement Sizes | 13 |
| 3. Loads | 15 |
| 3.1 Load Patterns | 15 |
| 3.2 Auto Seismic Loading | 15 |
| 3.3 Load Cases | 24 |
| 3.4 Load Combinations | 24 |
| 4. Analysis Results | 27 |
| 4.1 Structure Results | 27 |
| 4.2 Story Results | 37 |
| 4.3 Modal Results | 53 |
| 5. Design Data | 56 |
| 5.1 Concrete Frame Design | 56 |

| List of Tables |  |
| --- | --- |
| Table 1.1 Story Definitions | 4 |
| Table 1.2 Grid Definitions - General | 4 |
| Table 1.3 Grid Definitions - Grid Lines | 4 |
| Table 1.4 Point Bays | 4 |
| Table 1.5 Column Bays | 6 |
| Table 1.6 Beam Bays | 7 |
| Table 1.7 Floor Bays | 8 |
| Table 1.8 Wall Bays | 10 |
| Table 1.9 Mass Source Definition | 11 |
| Table 1.10 Centers Of Mass And Rigidity | 11 |
| Table 1.11 Mass Summary by Diaphragm | 11 |
| Table 1.12 Mass Summary by Story | 12 |
| Table 1.13 Mass Summary by Group | 12 |
| Table 2.1 Material Properties - General | 13 |
| Table 2.2 Frame Section Property Definitions - Summary | 13 |
| Table 2.3 Area Section Property Definitions - Summary | 13 |
| Table 2.4 Reinforcing Bar Sizes | 14 |
| Table 3.1 Load Pattern Definitions | 15 |
| Table 3.6 Load Case Definitions - Summary | 24 |
| Table 3.7 Load Combination Definitions | 24 |
| Table 4.1 Base Reactions | 27 |
| Table 4.2 Centers Of Mass And Rigidity | 28 |
| Table 4.3 Diaphragm Center Of Mass Displacements | 28 |
| Table 4.4 Story Max Over Avg Displacements | 37 |
| Table 4.5 Story Drifts | 43 |
| Table 4.6 Story Forces | 48 |
| Table 4.7 Modal Periods And Frequencies | 54 |
| Table 4.8 Modal Participating Mass Ratios | 54 |
| Table 4.9 Modal Load Participation Ratios | 54 |
| Table 4.10 Modal Direction Factors | 55 |
| Table 5.1 Concrete Frame Design Preferences - IS 456-2000 | 56 |

# 1 Structure Data

This chapter provides model geometry information, including items such as story levels, point coordinates, and element connectivity.

## 1.1 Story Data

Table 1.1 - Story Definitions

| Tower | Name | Height m | Master Story | Similar To | Splice Story | Color |
| --- | --- | --- | --- | --- | --- | --- |
| T1 | Story5 | 2.8956 | Yes | None | No | Yellow |
| T1 | Story4 | 2.8956 | Yes | None | No | Yellow |
| T1 | Story3 | 2.8956 | No | Story4 | No | Gray8Dark |
| T1 | Story2 | 3.2004 | No | Story4 | No | Blue |
| T1 | Story1 | 3.2004 | No | Story4 | No | Green |

## 1.2 Grid Data

Table 1.2 - Grid Definitions - General

| Tower | Name | Type | Ux m | Uy m | Rz deg | Story Range | Bubble Size mm | Color |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| T1 | G1 | Cartesian | 0 | 0 | 0 | Default | 1250 | Gray6 |

Table 1.3 - Grid Definitions - Grid Lines

| Name | Grid Line Type | ID | Ordinate m | Bubble Location | Visible |
| --- | --- | --- | --- | --- | --- |
| G1 | X (Cartesian) | A | 0 | End | Yes |
| G1 | X (Cartesian) | B | 0.635 | End | Yes |
| G1 | X (Cartesian) | C | 1.2192 | End | Yes |
| G1 | X (Cartesian) | D | 4.5212 | End | Yes |
| G1 | X (Cartesian) | E | 8.0264 | End | Yes |
| G1 | Y (Cartesian) | 1 | 0 | Start | Yes |
| G1 | Y (Cartesian) | 2 | 0.3556 | Start | Yes |
| G1 | Y (Cartesian) | 3 | 4.5212 | Start | Yes |
| G1 | Y (Cartesian) | 4 | 8.8138 | Start | Yes |
| G1 | Y (Cartesian) | 5 | 12.3444 | Start | Yes |
| G1 | Y (Cartesian) | 6 | 15.7988 | Start | Yes |

## 1.3 Point Coordinates

Table 1.4 - Point Bays

| Label | Is Auto Point | X m | Y m | DZBelow m |
| --- | --- | --- | --- | --- |
| 1 | No | 1.2192 | 4.0386 | 0 |
| 2 | No | 4.5212 | 4.0386 | 0 |
| 3 | No | 6.7818 | 3.2512 | 0 |
| 4 | No | 8.0264 | 3.2512 | 0 |
| 5 | No | 4.5212 | 2.9972 | 0 |
| 6 | No | 8.0264 | 2.9972 | 0 |
| 7 | No | 8.0264 | 6.35 | 0 |
| 8 | No | 8.0264 | 1.4732 | 1.9812 |
| 9 | No | 6.7818 | 1.4732 | 1.9812 |
| 10 | No | 8.0264 | 0.5334 | 1.9812 |
| 11 | No | 7.8486 | 0.5334 | 1.9812 |
| 12 | No | 7.8486 | 0.3376 | 1.9812 |
| 13 | No | 6.7818 | 0.2293 | 1.9812 |
| 14 | No | 4.699 | 0.018 | 1.2384 |
| 15 | No | 6.7818 | 2.9972 | 0 |
| 16 | No | 5.7658 | 2.9972 | 0 |
| 17 | No | 8.0264 | 1.4732 | 1.8296 |
| 18 | No | 6.7818 | 1.4732 | 1.8296 |
| 19 | No | 6.7818 | 0.2293 | 1.8296 |
| 20 | No | 5.7658 | 0.1263 | 1.2384 |
| 21 | No | 5.7658 | 1.4732 | 1.2384 |
| 22 | No | 5.7658 | 1.4732 | 1.0344 |
| 23 | No | 5.7658 | 0.1263 | 1.0344 |
| 24 | No | 7.4168 | 6.35 | 0 |
| 25 | No | 8.0264 | 0.5334 | 1.8296 |
| 26 | No | 7.8486 | 0.5334 | 1.8296 |
| 27 | No | 4.5212 | 6.35 | 0 |
| 28 | No | 7.8486 | 0.3376 | 1.8296 |
| 29 | No | 4.699 | 0.018 | 1.0344 |
| 30 | No | 4.699 | 0.1778 | 1.0344 |
| 31 | No | 4.699 | 0.1778 | 1.2384 |
| 32 | No | 4.5212 | 0.1778 | 1.2384 |
| 33 | No | 4.5212 | 1.4732 | 1.2384 |
| 34 | No | 4.5212 | 3.2512 | 0 |
| 35 | No | 5.7658 | 3.2512 | 0 |
| 36 | No | 4.5212 | 4.3434 | 0 |
| 37 | No | 4.699 | 4.3434 | 0 |
| 38 | No | 4.699 | 4.5212 | 0 |
| 39 | No | 7.8486 | 4.5212 | 0 |
| 40 | No | 7.8486 | 4.3434 | 0 |
| 41 | No | 8.0264 | 4.3434 | 0 |
| 42 | No | 4.5212 | 0.1778 | 1.0344 |
| 43 | No | 4.5212 | 1.4732 | 1.0344 |
| 44 | No | 7.4168 | 8.8138 | 0 |
| 46 | No | 4.5214 | 17.272 | 0 |
| 47 | No | 6.0706 | 6.35 | 0 |
| 49 | Yes | 4.6805 | 6.8636 | 0 |
| 53 | No | 8.0264 | 0.3556 | 0 |
| 54 | No | 4.5212 | 0 | 0 |
| 55 | No | 8.0264 | 4.5212 | 0 |
| 56 | No | 4.5212 | 4.5212 | 0 |
| 57 | No | 1.2192 | 4.5212 | 0 |
| 58 | No | 8.0264 | 8.8138 | 0 |
| 59 | No | 4.5212 | 8.8138 | 0 |
| 60 | No | 1.2192 | 8.8138 | 0 |
| 61 | No | 8.0264 | 12.3444 | 0 |
| 62 | No | 4.5212 | 12.3444 | 0 |
| 63 | No | 0.635 | 12.3444 | 0 |
| 64 | No | 8.0264 | 15.7988 | 0 |
| 65 | No | 4.5212 | 15.7988 | 0 |
| 66 | No | 0 | 15.7988 | 0 |
| 67 | No | 4.5212 | 0.3556 | 0 |
| 68 | No | -0.2286 | 17.0434 | 0 |
| 69 | No | 8.0264 | 17.0434 | 0 |
| 70 | No | 1.2192 | 3.2766 | 0 |
| 71 | No | 4.5212 | 3.2766 | 0 |
| 72 | No | 3.2766 | -0.127 | 0 |
| 73 | No | 3.2766 | 3.2766 | 0 |
| 74 | No | 7.4168 | 4.5212 | 0 |
| 75 | No | 7.4168 | 6.3754 | 0 |
| 76 | No | 8.0264 | 6.3754 | 0 |
| 77 | Yes | 4.0328 | 9.6723 | 0 |
| 78 | No | -0.1778 | 16.891 | 0 |
| 79 | No | 0.381 | 16.891 | 0 |
| 80 | No | 3.6068 | 16.891 | 0 |
| 81 | No | 3.6068 | 15.7988 | 0 |
| 82 | No | 4.9276 | 16.891 | 0 |
| 83 | No | 4.9276 | 15.7988 | 0 |
| 84 | No | 7.7724 | 16.891 | 0 |
| 85 | No | 7.7724 | 15.7988 | 0 |
| 86 | No | -0.2794 | 17.272 | 0 |
| 87 | Yes | 4.0973 | 10.1433 | 0 |
| 88 | No | 8.0264 | 17.272 | 0 |
| 89 | Yes | 4.0996 | 10.1319 | 0 |
| 90 | Yes | 4.0861 | 9.9883 | 0 |
| 91 | No | 8.0264 | 16.891 | 0 |
| 93 | No | -0.2071 | 16.891 | 0 |
| 94 | No | 8.0264 | 12.9794 | 0 |
| 96 | No | 1.4986 | 12.3444 | 0 |
| 97 | No | 1.4986 | 12.9794 | 0 |

## 1.4 Line Connectivity

Table 1.5 - Column Bays

| Label | PointBayI | PointBayJ | IEndStory |
| --- | --- | --- | --- |
| C13 | 53 | 53 | Below |
| C14 | 54 | 54 | Below |
| C15 | 55 | 55 | Below |
| C16 | 56 | 56 | Below |
| C17 | 57 | 57 | Below |
| C18 | 58 | 58 | Below |
| C19 | 59 | 59 | Below |
| C20 | 60 | 60 | Below |
| C21 | 61 | 61 | Below |
| C22 | 62 | 62 | Below |
| C23 | 63 | 63 | Below |
| C24 | 64 | 64 | Below |
| C25 | 65 | 65 | Below |
| C26 | 66 | 66 | Below |

Table 1.6 - Beam Bays

| Label | PointBayI | PointBayJ |
| --- | --- | --- |
| B1 | 54 | 56 |
| B2 | 70 | 57 |
| B3 | 70 | 71 |
| B7 | 81 | 80 |
| B8 | 78 | 80 |
| B9 | 83 | 82 |
| B10 | 82 | 84 |
| B11 | 85 | 84 |
| B12 | 78 | 66 |
| B13 | 86 | 66 |
| B14 | 65 | 46 |
| B15 | 64 | 88 |
| B16 | 1 | 2 |
| B17 | 75 | 76 |
| B18 | 74 | 75 |
| B19 | 93 | 91 |
| B27 | 54 | 53 |
| B28 | 53 | 55 |
| B29 | 55 | 58 |
| B30 | 58 | 61 |
| B31 | 61 | 64 |
| B32 | 65 | 64 |
| B33 | 66 | 65 |
| B34 | 66 | 63 |
| B35 | 63 | 60 |
| B36 | 57 | 60 |
| B37 | 57 | 56 |
| B39 | 63 | 62 |
| B41 | 56 | 55 |
| B42 | 59 | 58 |
| B43 | 60 | 59 |
| B44 | 56 | 59 |
| B45 | 59 | 62 |
| B46 | 62 | 61 |
| B47 | 62 | 65 |

## 1.5 Area Connectivity

Table 1.7 - Floor Bays

| Label | NumPoints | PointNumber | PointBay |
| --- | --- | --- | --- |
| F1 | 4 | 1 | 96 |
| F1 |  | 2 | 61 |
| F1 |  | 3 | 94 |
| F1 |  | 4 | 97 |
| F2 | 4 | 1 | 1 |
| F2 |  | 2 | 2 |
| F2 |  | 3 | 56 |
| F2 |  | 4 | 57 |
| F3 | 6 | 1 | 9 |
| F3 |  | 2 | 8 |
| F3 |  | 3 | 10 |
| F3 |  | 4 | 11 |
| F3 |  | 5 | 12 |
| F3 |  | 6 | 13 |
| F4 | 4 | 1 | 2 |
| F4 |  | 2 | 1 |
| F4 |  | 3 | 70 |
| F4 |  | 4 | 71 |
| F5 | 6 | 1 | 18 |
| F5 |  | 2 | 17 |
| F5 |  | 3 | 25 |
| F5 |  | 4 | 26 |
| F5 |  | 5 | 28 |
| F5 |  | 6 | 19 |
| F6 | 6 | 1 | 21 |
| F6 |  | 2 | 20 |
| F6 |  | 3 | 14 |
| F6 |  | 4 | 31 |
| F6 |  | 5 | 32 |
| F6 |  | 6 | 33 |
| F7 | 6 | 1 | 22 |
| F7 |  | 2 | 23 |
| F7 |  | 3 | 29 |
| F7 |  | 4 | 30 |
| F7 |  | 5 | 42 |
| F7 |  | 6 | 43 |
| F8 | 8 | 1 | 34 |
| F8 |  | 2 | 36 |
| F8 |  | 3 | 37 |
| F8 |  | 4 | 38 |
| F8 |  | 5 | 39 |
| F8 |  | 6 | 40 |
| F8 |  | 7 | 41 |
| F8 |  | 8 | 4 |
| F9 | 8 | 1 | 5 |
| F9 |  | 2 | 36 |
| F9 |  | 3 | 37 |
| F9 |  | 4 | 38 |
| F9 |  | 5 | 39 |
| F9 |  | 6 | 40 |
| F9 |  | 7 | 41 |
| F9 |  | 8 | 6 |
| F10 | 10 | 1 | 34 |
| F10 |  | 2 | 36 |
| F10 |  | 3 | 37 |
| F10 |  | 4 | 38 |
| F10 |  | 5 | 39 |
| F10 |  | 6 | 40 |
| F10 |  | 7 | 41 |
| F10 |  | 8 | 6 |
| F10 |  | 9 | 16 |
| F10 |  | 10 | 35 |
| F16 | 8 | 1 | 74 |
| F16 |  | 2 | 24 |
| F16 |  | 3 | 7 |
| F16 |  | 4 | 58 |
| F16 |  | 5 | 44 |
| F16 |  | 6 | 59 |
| F16 |  | 7 | 27 |
| F16 |  | 8 | 56 |
| F17 | 4 | 1 | 66 |
| F17 |  | 2 | 63 |
| F17 |  | 3 | 62 |
| F17 |  | 4 | 65 |
| F18 | 4 | 1 | 63 |
| F18 |  | 2 | 60 |
| F18 |  | 3 | 59 |
| F18 |  | 4 | 62 |
| F19 | 4 | 1 | 57 |
| F19 |  | 2 | 56 |
| F19 |  | 3 | 59 |
| F19 |  | 4 | 60 |
| F21 | 4 | 1 | 59 |
| F21 |  | 2 | 58 |
| F21 |  | 3 | 61 |
| F21 |  | 4 | 62 |
| F22 | 4 | 1 | 62 |
| F22 |  | 2 | 61 |
| F22 |  | 3 | 64 |
| F22 |  | 4 | 65 |
| F23 | 4 | 1 | 54 |
| F23 |  | 2 | 53 |
| F23 |  | 3 | 55 |
| F23 |  | 4 | 56 |
| F26 | 4 | 1 | 68 |
| F26 |  | 2 | 66 |
| F26 |  | 3 | 64 |
| F26 |  | 4 | 69 |
| F27 | 4 | 1 | 72 |
| F27 |  | 2 | 54 |
| F27 |  | 3 | 71 |
| F27 |  | 4 | 73 |
| F29 | 4 | 1 | 70 |
| F29 |  | 2 | 71 |
| F29 |  | 3 | 56 |
| F29 |  | 4 | 57 |
| F31 | 4 | 1 | 83 |
| F31 |  | 2 | 85 |
| F31 |  | 3 | 84 |
| F31 |  | 4 | 82 |
| F32 | 4 | 1 | 81 |
| F32 |  | 2 | 80 |
| F32 |  | 3 | 78 |
| F32 |  | 4 | 66 |
| F34 | 4 | 1 | 93 |
| F34 |  | 2 | 91 |
| F34 |  | 3 | 88 |
| F34 |  | 4 | 86 |
| F35 | 4 | 1 | 91 |
| F35 |  | 2 | 93 |
| F35 |  | 3 | 66 |
| F35 |  | 4 | 64 |

Table 1.8 - Wall Bays

| Label | NumPoints | PointNumber | PointBay | PointStory |
| --- | --- | --- | --- | --- |
| W1 | 4 | 1 | 3 | Below |
| W1 |  | 2 | 4 | Below |
| W1 |  | 3 | 8 | Same |
| W1 |  | 4 | 9 | Same |
| W2 | 4 | 1 | 9 | Same |
| W2 |  | 2 | 13 | Same |
| W2 |  | 3 | 20 | Same |
| W2 |  | 4 | 21 | Same |
| W3 | 4 | 1 | 21 | Same |
| W3 |  | 2 | 33 | Same |
| W3 |  | 3 | 34 | Same |
| W3 |  | 4 | 35 | Same |
| W4 | 4 | 1 | 15 | Below |
| W4 |  | 2 | 6 | Below |
| W4 |  | 3 | 17 | Same |
| W4 |  | 4 | 18 | Same |
| W5 | 4 | 1 | 19 | Same |
| W5 |  | 2 | 18 | Same |
| W5 |  | 3 | 22 | Same |
| W5 |  | 4 | 23 | Same |
| W6 | 4 | 1 | 22 | Same |
| W6 |  | 2 | 43 | Same |
| W6 |  | 3 | 5 | Same |
| W6 |  | 4 | 16 | Same |

## 1.6 Mass

Table 1.9 - Mass Source Definition

| Name | Is Default | Include Lateral Mass? | Include Vertical Mass? | Lump Mass? | Source Self Mass? | Source Added Mass? | Source Load Patterns? | Move Mass Centroid? | Load Pattern | Multiplier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MsSrc1 | Yes | Yes | No | Yes | No | Yes | Yes | No | Dead | 1 |
| MsSrc1 |  |  |  |  |  |  |  |  | Live | 0.3 |
| MsSrc1 |  |  |  |  |  |  |  |  | 9" wall | 1 |
| MsSrc1 |  |  |  |  |  |  |  |  | partition wall | 1 |
| MsSrc1 |  |  |  |  |  |  |  |  | FF | 1 |
| MsSrc1 |  |  |  |  |  |  |  |  | staircase steps | 1 |
| MsSrc1 |  |  |  |  |  |  |  |  | stair live | 0.3 |
| MsSrc1 |  |  |  |  |  |  |  |  | water tank | 0.6 |

Table 1.10 - Centers Of Mass And Rigidity

| Story | Diaphragm | Mass X kg | Mass Y kg | XCM m | YCM m | Cum Mass X kg | Cum Mass Y kg | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story1 | D1 | 114857.29 | 114857.29 | 4.0861 | 9.9883 | 114857.29 | 114857.29 | 4.0861 | 9.9883 |  |  |
| Story2 | D2 | 121253.15 | 121253.15 | 4.0996 | 10.1319 | 121253.15 | 121253.15 | 4.0996 | 10.1319 |  |  |
| Story3 | D3 | 120452.16 | 120452.16 | 4.0973 | 10.1433 | 120452.16 | 120452.16 | 4.0973 | 10.1433 |  |  |
| Story4 | D4 | 102356.7 | 102356.7 | 4.0328 | 9.6723 | 102356.7 | 102356.7 | 4.0328 | 9.6723 |  |  |
| Story5 | D5 | 58521.99 | 58521.99 | 4.6805 | 6.8636 | 58521.99 | 58521.99 | 4.6805 | 6.8636 |  |  |

Table 1.11 - Mass Summary by Diaphragm

| Story | Diaphragm | Mass X kg | Mass Y kg | Mass Moment of Inertia ton-m2 | X Mass Center m | Y Mass Center m |
| --- | --- | --- | --- | --- | --- | --- |
| Story5 | D5 | 58521.99 | 58521.99 | 1281.5186 | 4.6805 | 6.8636 |
| Story4 | D4 | 102356.7 | 102356.7 | 2888.214 | 4.0328 | 9.6723 |
| Story3 | D3 | 120452.16 | 120452.16 | 3513.947 | 4.0973 | 10.1433 |
| Story2 | D2 | 121253.15 | 121253.15 | 3540.5331 | 4.0996 | 10.1319 |
| Story1 | D1 | 114857.29 | 114857.29 | 3494.1362 | 4.0861 | 9.9883 |

Table 1.12 - Mass Summary by Story

| Story | UX kg | UY kg | UZ kg |
| --- | --- | --- | --- |
| Story5 | 58521.99 | 58521.99 | 0 |
| Story4 | 116581.97 | 116581.97 | 0 |
| Story3 | 134862.95 | 134862.95 | 0 |
| Story2 | 135793.36 | 135793.36 | 0 |
| Story1 | 132318.78 | 132318.78 | 0 |
| Base | 9712.53 | 9712.53 | 0 |

Table 1.13 - Mass Summary by Group

| Group | Self Mass kg | Mass X kg | Mass Y kg | Mass Z kg |
| --- | --- | --- | --- | --- |
| All | 0 | 654505.43 | 654505.43 | 0 |

# 2 Properties

This chapter provides property information for materials, frame sections, shell sections, and links.

## 2.1 Materials

Table 2.1 - Material Properties - General

| Material | Type | SymType | Grade | Color | Notes |
| --- | --- | --- | --- | --- | --- |
| HYSD415 | Rebar | Uniaxial | HYSD Grade 415 | Yellow |  |
| HYSD500 | Rebar | Uniaxial | HYSD Grade 500 | Cyan |  |
| M20 | Concrete | Isotropic | M20 | Red |  |
| M25 | Concrete | Isotropic | M25 | Red |  |
| M30 | Concrete | Isotropic | M30 | Magenta |  |
| Masonry | Masonry | Isotropic | Unknown | Blue |  |
| Tendon | Tendon | Uniaxial | Unknown | Gray8Dark |  |

## 2.2 Frame Sections

Table 2.2 - Frame Section Property Definitions - Summary (Part 1 of 3)

| Name | Material | Shape | Color | Area cm2 | J cm4 | I33 cm4 | I22 cm4 | I23 cm4 | As2 cm2 | As3 cm2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B 9" *14" | M30 | Concrete Rectangular | Magenta | 812.9 | 85251.2 | 85660.4 | 35400.5 | 0 | 677.4 | 677.4 |
| C 14"*14" | M25 | Concrete Rectangular | Gray8Dark | 1264.5 | 225275 | 133249.6 | 133249.6 | 0 | 1053.8 | 1053.8 |
| wall | Masonry | Concrete Rectangular | Cyan | 0.01 | 0 | 0 | 0 | 0 | 0.008333 | 0.008333 |

Table 2.2 - Frame Section Property Definitions - Summary (Part 2 of 3)

| Name | S33Pos cm3 | S33Neg cm3 | S22Pos cm3 | S22Neg cm3 | Z33 cm3 | Z22 cm3 | R33 mm | R22 mm | CG Offset 3 mm | CG Offset 2 mm | PNA Offset 3 mm | PNA Offset 2 mm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B 9" *14" | 4817.8 | 4817.8 | 3097.2 | 3097.2 | 7226.7 | 4645.7 | 102.7 | 66 | 0 | 0 | 0 | 0 |
| C 14"*14" | 7494.4 | 7494.4 | 7494.4 | 7494.4 | 11241.5 | 11241.5 | 102.7 | 102.7 | 0 | 0 | 0 | 0 |
| wall | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0.3 | 0 | 0 | 0 | 0 |

Table 2.2 - Frame Section Property Definitions - Summary (Part 3 of 3)

| Name | Area Modifier | As2 Modifier | As3 Modifier | J Modifier | I33 Modifier | I22 Modifier | Mass Modifier | Weight Modifier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B 9" *14" | 1 | 1 | 1 | 1 | 0.35 | 0.35 | 1 | 1 |
| C 14"*14" | 1 | 1 | 1 | 1 | 0.7 | 0.7 | 1 | 1 |
| wall | 1 | 1 | 1 | 1 | 0.45 | 0.45 | 1 | 1 |

## 2.3 Shell Sections

Table 2.3 - Area Section Property Definitions - Summary

| Name | Type | Element Type | Material | Total Thickness mm | Deck Material | Deck Depth mm |
| --- | --- | --- | --- | --- | --- | --- |
| Slab125 | Slab | Shell-Thin | M20 | 127 |  |  |
| Waist slab | Slab | Shell-Thin | M20 | 127 |  |  |

## 2.4 Reinforcement Sizes

Table 2.4 - Reinforcing Bar Sizes

| Name | Diameter mm | Area cm2 |
| --- | --- | --- |
| 18 | 18 | 2.5 |

# 3 Loads

This chapter provides loading information as applied to the model.

## 3.1 Load Patterns

Table 3.1 - Load Pattern Definitions

| Name | Is Auto Load | Type | Self Weight Multiplier | Auto Load |
| --- | --- | --- | --- | --- |
| ~ChineseX | Yes | Other | 0 |  |
| ~ChineseY | Yes | Other | 0 |  |
| ~LLRF | Yes | Other | 0 |  |
| 9" wall | No | Dead | 0 |  |
| Dead | No | Dead | 1 |  |
| EQx SLS | No | Seismic | 0 | User Coefficient |
| EQx SLS(1/3) | Yes | Seismic | 0 | User Coefficient |
| EQx SLS(2/3) | Yes | Seismic | 0 | User Coefficient |
| EQx SLS(3/3) | Yes | Seismic | 0 | User Coefficient |
| EQx ULS | No | Seismic | 0 | User Coefficient |
| EQx ULS(1/3) | Yes | Seismic | 0 | User Coefficient |
| EQx ULS(2/3) | Yes | Seismic | 0 | User Coefficient |
| EQx ULS(3/3) | Yes | Seismic | 0 | User Coefficient |
| EQy SLS | No | Seismic | 0 | User Coefficient |
| EQy SLS(1/3) | Yes | Seismic | 0 | User Coefficient |
| EQy SLS(2/3) | Yes | Seismic | 0 | User Coefficient |
| EQy SLS(3/3) | Yes | Seismic | 0 | User Coefficient |
| EQy ULS | No | Seismic | 0 | User Coefficient |
| EQy ULS(1/3) | Yes | Seismic | 0 | User Coefficient |
| EQy ULS(2/3) | Yes | Seismic | 0 | User Coefficient |
| EQy ULS(3/3) | Yes | Seismic | 0 | User Coefficient |
| FF | No | Dead | 0 |  |
| Live | No | Live | 0 |  |
| partition wall | No | Dead | 0 |  |
| stair live | No | Live | 0 |  |
| staircase steps | No | Dead | 0 |  |
| water tank | No | Live | 0 |  |

## 3.2 Auto Seismic Loading

# User Coefficient Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQx SLS using the user input coefficients, as calculated by ETABS.

### Direction and Eccentricity

Direction = Multiple

Eccentricity Ratio = 5% for all diaphragms

### Factors and Coefficients

### Equivalent Lateral Forces

| Base Shear Coefficient, C |  | C=0.126 |
| --- | --- | --- |
| Base Shear, V | V=CW |  |

### Calculated Base Shear

| Direction | Period Used (sec) | C | W (kN) | V (kN) |
| --- | --- | --- | --- | --- |
| X | 0 | 0 | 5669.019 | 714.2964 |
| X + Ecc. Y | 0 | 0 | 5669.019 | 714.2964 |
| X - Ecc. Y | 0 | 0 | 5669.019 | 714.2964 |

### Applied Story Forces

| Story | Elevation | X-Dir | Y-Dir |
| --- | --- | --- | --- |
|  | m | kN | kN |
| Story5 | 15.0876 | 136.8031 | 0 |
| Story4 | 12.192 | 215.1669 | 0 |
| Story3 | 9.2964 | 184.2641 | 0 |
| Story2 | 6.4008 | 122.6533 | 0 |
| Story1 | 3.2004 | 55.409 | 0 |
| Base | 0 | 0 | 0 |

# User Coefficient Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQy SLS using the user input coefficients, as calculated by ETABS.

### Direction and Eccentricity

Direction = Multiple

Eccentricity Ratio = 5% for all diaphragms

### Factors and Coefficients

### Equivalent Lateral Forces

| Base Shear Coefficient, C |  | C=0.126 |
| --- | --- | --- |
| Base Shear, V | V=CW |  |

### Calculated Base Shear

| Direction | Period Used (sec) | C | W (kN) | V (kN) |
| --- | --- | --- | --- | --- |
| Y | 0 | 0 | 5669.019 | 714.2964 |
| Y + Ecc. X | 0 | 0 | 5669.019 | 714.2964 |
| Y - Ecc. X | 0 | 0 | 5669.019 | 714.2964 |

### Applied Story Forces

| Story | Elevation | X-Dir | Y-Dir |
| --- | --- | --- | --- |
|  | m | kN | kN |
| Story5 | 15.0876 | 0 | 136.8031 |
| Story4 | 12.192 | 0 | 215.1669 |
| Story3 | 9.2964 | 0 | 184.2641 |
| Story2 | 6.4008 | 0 | 122.6533 |
| Story1 | 3.2004 | 0 | 55.409 |
| Base | 0 | 0 | 0 |

# User Coefficient Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQx ULS using the user input coefficients, as calculated by ETABS.

### Direction and Eccentricity

Direction = Multiple

Eccentricity Ratio = 5% for all diaphragms

### Factors and Coefficients

### Equivalent Lateral Forces

| Base Shear Coefficient, C |  | C=0.1313 |
| --- | --- | --- |
| Base Shear, V | V=CW |  |

### Calculated Base Shear

| Direction | Period Used (sec) | C | W (kN) | V (kN) |
| --- | --- | --- | --- | --- |
| X | 0 | 0 | 5669.019 | 744.3422 |
| X + Ecc. Y | 0 | 0 | 5669.019 | 744.3422 |
| X - Ecc. Y | 0 | 0 | 5669.019 | 744.3422 |

### Applied Story Forces

| Story | Elevation | X-Dir | Y-Dir |
| --- | --- | --- | --- |
|  | m | kN | kN |
| Story5 | 15.0876 | 142.5575 | 0 |
| Story4 | 12.192 | 224.2176 | 0 |
| Story3 | 9.2964 | 192.0149 | 0 |
| Story2 | 6.4008 | 127.8125 | 0 |
| Story1 | 3.2004 | 57.7397 | 0 |
| Base | 0 | 0 | 0 |

# User Coefficient Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQy ULS using the user input coefficients, as calculated by ETABS.

### Direction and Eccentricity

Direction = Multiple

Eccentricity Ratio = 5% for all diaphragms

### Factors and Coefficients

### Equivalent Lateral Forces

| Base Shear Coefficient, C |  | C=0.1313 |
| --- | --- | --- |
| Base Shear, V | V=CW |  |

### Calculated Base Shear

| Direction | Period Used (sec) | C | W (kN) | V (kN) |
| --- | --- | --- | --- | --- |
| Y | 0 | 0 | 5669.019 | 744.3422 |
| Y + Ecc. X | 0 | 0 | 5669.019 | 744.3422 |
| Y - Ecc. X | 0 | 0 | 5669.019 | 744.3422 |

### Applied Story Forces

| Story | Elevation | X-Dir | Y-Dir |
| --- | --- | --- | --- |
|  | m | kN | kN |
| Story5 | 15.0876 | 0 | 142.5575 |
| Story4 | 12.192 | 0 | 224.2176 |
| Story3 | 9.2964 | 0 | 192.0149 |
| Story2 | 6.4008 | 0 | 127.8125 |
| Story1 | 3.2004 | 0 | 57.7397 |
| Base | 0 | 0 | 0 |

## 3.3 Load Cases

Table 3.6 - Load Case Definitions - Summary

| Name | Type |
| --- | --- |
| Dead | Linear Static |
| Live | Linear Static |
| Modal | Modal - Eigen |
| 9" wall | Linear Static |
| partition wall | Linear Static |
| FF | Linear Static |
| staircase steps | Linear Static |
| stair live | Linear Static |
| water tank | Linear Static |
| EQx SLS | Linear Static |
| EQy SLS | Linear Static |
| EQx ULS | Linear Static |
| EQy ULS | Linear Static |

## 3.4 Load Combinations

Table 3.7 - Load Combination Definitions

| Name | Type | Is Auto | Load Name | SF | Notes |
| --- | --- | --- | --- | --- | --- |
| 0.9DL -EQxULS | Linear Add | No | Dead | 0.9 |  |
| 0.9DL -EQxULS |  |  | 9" wall | 0.9 |  |
| 0.9DL -EQxULS |  |  | partition wall | 0.9 |  |
| 0.9DL -EQxULS |  |  | FF | 0.9 |  |
| 0.9DL -EQxULS |  |  | staircase steps | 0.9 |  |
| 0.9DL -EQxULS |  |  | water tank | 0.9 |  |
| 0.9DL -EQxULS |  |  | EQx ULS | -1 |  |
| 0.9DL -EQyULS | Linear Add | No | Dead | 0.9 |  |
| 0.9DL -EQyULS |  |  | 9" wall | 0.9 |  |
| 0.9DL -EQyULS |  |  | partition wall | 0.9 |  |
| 0.9DL -EQyULS |  |  | FF | 0.9 |  |
| 0.9DL -EQyULS |  |  | staircase steps | 0.9 |  |
| 0.9DL -EQyULS |  |  | water tank | 0.9 |  |
| 0.9DL -EQyULS |  |  | EQy ULS | -1 |  |
| 0.9DL +EQxULS | Linear Add | No | Dead | 0.9 |  |
| 0.9DL +EQxULS |  |  | 9" wall | 0.9 |  |
| 0.9DL +EQxULS |  |  | partition wall | 0.9 |  |
| 0.9DL +EQxULS |  |  | FF | 0.9 |  |
| 0.9DL +EQxULS |  |  | staircase steps | 0.9 |  |
| 0.9DL +EQxULS |  |  | water tank | 0.9 |  |
| 0.9DL +EQxULS |  |  | EQx ULS | 1 |  |
| 0.9DL +EQyULS | Linear Add | No | Dead | 0.9 |  |
| 0.9DL +EQyULS |  |  | 9" wall | 0.9 |  |
| 0.9DL +EQyULS |  |  | partition wall | 0.9 |  |
| 0.9DL +EQyULS |  |  | FF | 0.9 |  |
| 0.9DL +EQyULS |  |  | staircase steps | 0.9 |  |
| 0.9DL +EQyULS |  |  | water tank | 0.9 |  |
| 0.9DL +EQyULS |  |  | EQy ULS | 1 |  |
| 1.2DL+1.5LL | Linear Add | No | Dead | 1.2 |  |
| 1.2DL+1.5LL |  |  | Live | 1.5 |  |
| 1.2DL+1.5LL |  |  | 9" wall | 1.2 |  |
| 1.2DL+1.5LL |  |  | partition wall | 1.2 |  |
| 1.2DL+1.5LL |  |  | FF | 1.2 |  |
| 1.2DL+1.5LL |  |  | staircase steps | 1.2 |  |
| 1.2DL+1.5LL |  |  | water tank | 1.5 |  |
| 1.2DL+1.5LL |  |  | stair live | 1.5 |  |
| DL +YLL-EQxULS | Linear Add | No | Dead | 1 |  |
| DL +YLL-EQxULS |  |  | Live | 0.3 |  |
| DL +YLL-EQxULS |  |  | 9" wall | 1 |  |
| DL +YLL-EQxULS |  |  | partition wall | 1 |  |
| DL +YLL-EQxULS |  |  | FF | 1 |  |
| DL +YLL-EQxULS |  |  | staircase steps | 1 |  |
| DL +YLL-EQxULS |  |  | stair live | 0.3 |  |
| DL +YLL-EQxULS |  |  | water tank | 0.6 |  |
| DL +YLL-EQxULS |  |  | EQx ULS | -1 |  |
| DL +YLL-EQyULS | Linear Add | No | Dead | 1 |  |
| DL +YLL-EQyULS |  |  | Live | 0.3 |  |
| DL +YLL-EQyULS |  |  | 9" wall | 1 |  |
| DL +YLL-EQyULS |  |  | partition wall | 1 |  |
| DL +YLL-EQyULS |  |  | FF | 1 |  |
| DL +YLL-EQyULS |  |  | staircase steps | 1 |  |
| DL +YLL-EQyULS |  |  | stair live | 0.3 |  |
| DL +YLL-EQyULS |  |  | water tank | 0.6 |  |
| DL +YLL-EQyULS |  |  | EQy ULS | -1 |  |
| DL +YLL+EQxULS | Linear Add | No | Dead | 1 |  |
| DL +YLL+EQxULS |  |  | Live | 0.3 |  |
| DL +YLL+EQxULS |  |  | 9" wall | 1 |  |
| DL +YLL+EQxULS |  |  | partition wall | 1 |  |
| DL +YLL+EQxULS |  |  | FF | 1 |  |
| DL +YLL+EQxULS |  |  | staircase steps | 1 |  |
| DL +YLL+EQxULS |  |  | stair live | 0.3 |  |
| DL +YLL+EQxULS |  |  | water tank | 0.6 |  |
| DL +YLL+EQxULS |  |  | EQx ULS | 1 |  |
| DL +YLL+EQyULS | Linear Add | No | Dead | 1 |  |
| DL +YLL+EQyULS |  |  | Live | 0.3 |  |
| DL +YLL+EQyULS |  |  | 9" wall | 1 |  |
| DL +YLL+EQyULS |  |  | partition wall | 1 |  |
| DL +YLL+EQyULS |  |  | FF | 1 |  |
| DL +YLL+EQyULS |  |  | staircase steps | 1 |  |
| DL +YLL+EQyULS |  |  | stair live | 0.3 |  |
| DL +YLL+EQyULS |  |  | water tank | 0.6 |  |
| DL +YLL+EQyULS |  |  | EQy ULS | 1 |  |
| envelope | Envelope | No | 1.2DL+1.5LL | 1 |  |
| envelope |  |  | DL +YLL+EQxULS | 1 |  |
| envelope |  |  | DL +YLL-EQxULS | 1 |  |
| envelope |  |  | DL +YLL+EQyULS | 1 |  |
| envelope |  |  | DL +YLL-EQyULS | 1 |  |
| envelope |  |  | 0.9DL +EQxULS | 1 |  |
| envelope |  |  | 0.9DL -EQxULS | 1 |  |
| envelope |  |  | 0.9DL +EQyULS | 1 |  |
| envelope |  |  | 0.9DL -EQyULS | 1 |  |

# 4 Analysis Results

This chapter provides analysis results.

## 4.1 Structure Results

Table 4.1 - Base Reactions (Part 1 of 2)

| Output Case | Case Type | Step Type | FX kN | FY kN | FZ kN | MX kN-m | MY kN-m | MZ kN-m | X m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dead | LinStatic |  | 0 | 0 | 2673.8758 | 24637.1494 | -11807.6928 | 0 | 0 |
| Live | LinStatic |  | 0 | 0 | 733.7629 | 7648.7846 | -2909.8504 | 0 | 0 |
| 9" wall | LinStatic |  | 0 | 0 | 1746.52 | 13900.2999 | -8707.4748 | 0 | 0 |
| partition wall | LinStatic |  | 0 | 0 | 511.2932 | 4952.1651 | -2245.391 | 0 | 0 |
| FF | LinStatic |  | 0 | 0 | 533.0544 | 5193.6672 | -2213.8524 | 0 | 0 |
| staircase steps | LinStatic |  | 0 | 0 | 43.534 | 84.2942 | -273.0832 | 0 | 0 |
| stair live | LinStatic |  | 0 | 0 | 79.7326 | 154.385 | -500.1524 | 0 | 0 |
| water tank | LinStatic |  | 0 | 0 | 20.005 | 46.9774 | -125.0288 | 0 | 0 |
| EQx SLS | LinStatic | Max | -714.2964 | 0 | 0 | 0 | -7362.7483 | 6725.1862 | 0 |
| EQx SLS | LinStatic | Min | -714.2964 | 0 | 0 | 0 | -7362.7483 | 5668.1594 | 0 |
| EQy SLS | LinStatic | Max | 0 | -714.2964 | 0 | 7362.7483 | 0 | -2993.5596 | 0 |
| EQy SLS | LinStatic | Min | 0 | -714.2964 | 0 | 7362.7483 | 0 | -3516.1598 | 0 |
| EQx ULS | LinStatic | Max | -744.3422 | 0 | 0 | 0 | -7672.4512 | 7008.071 | 0 |
| EQx ULS | LinStatic | Min | -744.3422 | 0 | 0 | 0 | -7672.4512 | 5906.582 | 0 |
| EQy ULS | LinStatic | Max | 0 | -744.3422 | 0 | 7672.4512 | 0 | -3119.4791 | 0 |
| EQy ULS | LinStatic | Min | 0 | -744.3422 | 0 | 7672.4512 | 0 | -3664.0617 | 0 |
| 1.2DL+1.5LL | Combination |  | 0 | 0 | 7860.1837 | 70296.3113 | -35599.5406 | 0 | 0 |
| DL +YLL+EQxULS | Combination | Max | -744.3422 | 0 | 5764.3291 | 51136.7131 | -34017.9635 | 7008.071 | 0 |
| DL +YLL+EQxULS | Combination | Min | -744.3422 | 0 | 5764.3291 | 51136.7131 | -34017.9635 | 5906.582 | 0 |
| DL +YLL-EQxULS | Combination | Max | 744.3422 | 0 | 5764.3291 | 51136.7131 | -18673.0612 | -5906.582 | 0 |
| DL +YLL-EQxULS | Combination | Min | 744.3422 | 0 | 5764.3291 | 51136.7131 | -18673.0612 | -7008.071 | 0 |
| DL +YLL+EQyULS | Combination | Max | 0 | -744.3422 | 5764.3291 | 58809.1642 | -26345.5124 | -3119.4791 | 0 |
| DL +YLL+EQyULS | Combination | Min | 0 | -744.3422 | 5764.3291 | 58809.1642 | -26345.5124 | -3664.0617 | 0 |
| DL +YLL-EQyULS | Combination | Max | 0 | 744.3422 | 5764.3291 | 43464.2619 | -26345.5124 | 3664.0617 | 0 |
| DL +YLL-EQyULS | Combination | Min | 0 | 744.3422 | 5764.3291 | 43464.2619 | -26345.5124 | 3119.4791 | 0 |
| 0.9DL +EQxULS | Combination | Max | -744.3422 | 0 | 4975.4542 | 43933.0979 | -30507.7219 | 7008.071 | 0 |
| 0.9DL +EQxULS | Combination | Min | -744.3422 | 0 | 4975.4542 | 43933.0979 | -30507.7219 | 5906.582 | 0 |
| 0.9DL -EQxULS | Combination | Max | 744.3422 | 0 | 4975.4542 | 43933.0979 | -15162.8195 | -5906.582 | 0 |
| 0.9DL -EQxULS | Combination | Min | 744.3422 | 0 | 4975.4542 | 43933.0979 | -15162.8195 | -7008.071 | 0 |
| 0.9DL +EQyULS | Combination | Max | 0 | -744.3422 | 4975.4542 | 51605.549 | -22835.2707 | -3119.4791 | 0 |
| 0.9DL +EQyULS | Combination | Min | 0 | -744.3422 | 4975.4542 | 51605.549 | -22835.2707 | -3664.0617 | 0 |
| 0.9DL -EQyULS | Combination | Max | 0 | 744.3422 | 4975.4542 | 36260.6467 | -22835.2707 | 3664.0617 | 0 |
| 0.9DL -EQyULS | Combination | Min | 0 | 744.3422 | 4975.4542 | 36260.6467 | -22835.2707 | 3119.4791 | 0 |
| envelope | Combination | Max | 744.3422 | 744.3422 | 7860.1837 | 70296.3113 | -15162.8195 | 7008.071 | 0 |
| envelope | Combination | Min | -744.3422 | -744.3422 | 4975.4542 | 36260.6467 | -35599.5406 | -7008.071 | 0 |

Table 4.1 - Base Reactions (Part 2 of 2)

| Y m | Z m |
| --- | --- |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |
| 0 | 0 |

Table 4.2 - Centers Of Mass And Rigidity

| Story | Diaphragm | Mass X kg | Mass Y kg | XCM m | YCM m | Cum Mass X kg | Cum Mass Y kg | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story1 | D1 | 114857.29 | 114857.29 | 4.0861 | 9.9883 | 114857.29 | 114857.29 | 4.0861 | 9.9883 |  |  |
| Story2 | D2 | 121253.15 | 121253.15 | 4.0996 | 10.1319 | 121253.15 | 121253.15 | 4.0996 | 10.1319 |  |  |
| Story3 | D3 | 120452.16 | 120452.16 | 4.0973 | 10.1433 | 120452.16 | 120452.16 | 4.0973 | 10.1433 |  |  |
| Story4 | D4 | 102356.7 | 102356.7 | 4.0328 | 9.6723 | 102356.7 | 102356.7 | 4.0328 | 9.6723 |  |  |
| Story5 | D5 | 58521.99 | 58521.99 | 4.6805 | 6.8636 | 58521.99 | 58521.99 | 4.6805 | 6.8636 |  |  |

Table 4.3 - Diaphragm Center Of Mass Displacements (Part 1 of 2)

| Story | Diaphragm | Output Case | Case Type | Step Type | UX mm | UY mm | RZ rad | Diaphragm Mass X kg |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story5 | D5 | Dead | LinStatic |  | -0.688 | -0.441 | -0.00014 | 58521.99 |
| Story5 | D5 | Live | LinStatic |  | -0.166 | 0.175 | -3.4E-05 | 58521.99 |
| Story5 | D5 | 9" wall | LinStatic |  | 0.045 | 0.123 | -3E-06 | 58521.99 |
| Story5 | D5 | partition wall | LinStatic |  | -0.083 | 0.304 | -1.6E-05 | 58521.99 |
| Story5 | D5 | FF | LinStatic |  | -0.271 | -0.175 | -5.5E-05 | 58521.99 |
| Story5 | D5 | staircase steps | LinStatic |  | -0.118 | -0.431 | -2.8E-05 | 58521.99 |
| Story5 | D5 | stair live | LinStatic |  | -0.216 | -0.79 | -5.2E-05 | 58521.99 |
| Story5 | D5 | water tank | LinStatic |  | 0.003 | -0.001 | 1E-06 | 58521.99 |
| Story5 | D5 | EQx SLS | LinStatic | Max | 67.186 | 0.639 | 0.002386 | 58521.99 |
| Story5 | D5 | EQx SLS | LinStatic | Min | 61.68 | 0.623 | -0.000104 | 58521.99 |
| Story5 | D5 | EQy SLS | LinStatic | Max | 1.57 | 59.813 | 0.000425 | 58521.99 |
| Story5 | D5 | EQy SLS | LinStatic | Min | -1.183 | 59.805 | -0.000826 | 58521.99 |
| Story5 | D5 | EQx ULS | LinStatic | Max | 70.012 | 0.666 | 0.002486 | 58521.99 |
| Story5 | D5 | EQx ULS | LinStatic | Min | 64.275 | 0.65 | -0.000109 | 58521.99 |
| Story5 | D5 | EQy ULS | LinStatic | Max | 1.636 | 62.329 | 0.000443 | 58521.99 |
| Story5 | D5 | EQy ULS | LinStatic | Min | -1.233 | 62.321 | -0.00086 | 58521.99 |
| Story5 | D5 | ~ChineseX | LinStatic |  | 4.622 | 0.045 | 0.00012 | 58521.99 |
| Story5 | D5 | ~ChineseY | LinStatic |  | 0.021 | 4.207 | -1.1E-05 | 58521.99 |
| Story5 | D5 | 1.2DL+1.5LL | Combination |  | -1.904 | -1.667 | -0.000419 | 58521.99 |
| Story5 | D5 | DL +YLL+EQxULS | Combination | Max | 68.785 | -0.139 | 0.002218 | 58521.99 |
| Story5 | D5 | DL +YLL+EQxULS | Combination | Min | 63.048 | -0.155 | -0.000377 | 58521.99 |
| Story5 | D5 | DL +YLL-EQxULS | Combination | Max | -65.501 | -1.454 | -0.000159 | 58521.99 |
| Story5 | D5 | DL +YLL-EQxULS | Combination | Min | -71.239 | -1.471 | -0.002754 | 58521.99 |
| Story5 | D5 | DL +YLL+EQyULS | Combination | Max | 0.409 | 61.525 | 0.000175 | 58521.99 |
| Story5 | D5 | DL +YLL+EQyULS | Combination | Min | -2.46 | 61.516 | -0.001128 | 58521.99 |
| Story5 | D5 | DL +YLL-EQyULS | Combination | Max | 0.006 | -63.125 | 0.000592 | 58521.99 |
| Story5 | D5 | DL +YLL-EQyULS | Combination | Min | -2.862 | -63.134 | -0.000711 | 58521.99 |
| Story5 | D5 | 0.9DL +EQxULS | Combination | Max | 69.012 | 0.107 | 0.002268 | 58521.99 |
| Story5 | D5 | 0.9DL +EQxULS | Combination | Min | 63.275 | 0.091 | -0.000326 | 58521.99 |
| Story5 | D5 | 0.9DL -EQxULS | Combination | Max | -65.275 | -1.208 | -0.000109 | 58521.99 |
| Story5 | D5 | 0.9DL -EQxULS | Combination | Min | -71.012 | -1.224 | -0.002704 | 58521.99 |
| Story5 | D5 | 0.9DL +EQyULS | Combination | Max | 0.636 | 61.771 | 0.000225 | 58521.99 |
| Story5 | D5 | 0.9DL +EQyULS | Combination | Min | -2.233 | 61.762 | -0.001078 | 58521.99 |
| Story5 | D5 | 0.9DL -EQyULS | Combination | Max | 0.233 | -62.879 | 0.000643 | 58521.99 |
| Story5 | D5 | 0.9DL -EQyULS | Combination | Min | -2.636 | -62.888 | -0.000661 | 58521.99 |
| Story5 | D5 | envelope | Combination | Max | 69.012 | 61.771 | 0.002268 | 58521.99 |
| Story5 | D5 | envelope | Combination | Min | -71.239 | -63.134 | -0.002754 | 58521.99 |
| Story4 | D4 | Dead | LinStatic |  | -0.252 | -0.414 | -0.000126 | 102356.7 |
| Story4 | D4 | Live | LinStatic |  | -0.046 | 0.149 | -2.9E-05 | 102356.7 |
| Story4 | D4 | 9" wall | LinStatic |  | 0.046 | 0.138 | -7E-06 | 102356.7 |
| Story4 | D4 | partition wall | LinStatic |  | -0.027 | 0.276 | -1.6E-05 | 102356.7 |
| Story4 | D4 | FF | LinStatic |  | -0.101 | -0.16 | -4.9E-05 | 102356.7 |
| Story4 | D4 | staircase steps | LinStatic |  | -0.045 | -0.384 | -2.9E-05 | 102356.7 |
| Story4 | D4 | stair live | LinStatic |  | -0.082 | -0.703 | -5.3E-05 | 102356.7 |
| Story4 | D4 | water tank | LinStatic |  | 0.004 | -0.004 | 1E-06 | 102356.7 |
| Story4 | D4 | EQx SLS | LinStatic | Max | 56.482 | 0.635 | 0.002117 | 102356.7 |
| Story4 | D4 | EQx SLS | LinStatic | Min | 55.302 | -0.839 | -0.000141 | 102356.7 |
| Story4 | D4 | EQy SLS | LinStatic | Max | 0.938 | 55.176 | 0.000374 | 102356.7 |
| Story4 | D4 | EQy SLS | LinStatic | Min | 0.351 | 54.441 | -0.000752 | 102356.7 |
| Story4 | D4 | EQx ULS | LinStatic | Max | 58.858 | 0.662 | 0.002206 | 102356.7 |
| Story4 | D4 | EQx ULS | LinStatic | Min | 57.628 | -0.875 | -0.000147 | 102356.7 |
| Story4 | D4 | EQy ULS | LinStatic | Max | 0.978 | 57.497 | 0.00039 | 102356.7 |
| Story4 | D4 | EQy ULS | LinStatic | Min | 0.366 | 56.731 | -0.000784 | 102356.7 |
| Story4 | D4 | ~ChineseX | LinStatic |  | 3.795 | -0.03 | 0.000105 | 102356.7 |
| Story4 | D4 | ~ChineseY | LinStatic |  | 0.043 | 3.735 | -1E-05 | 102356.7 |
| Story4 | D4 | 1.2DL+1.5LL | Combination |  | -0.639 | -1.487 | -0.000394 | 102356.7 |
| Story4 | D4 | DL +YLL+EQxULS | Combination | Max | 58.443 | -0.049 | 0.001956 | 102356.7 |
| Story4 | D4 | DL +YLL+EQxULS | Combination | Min | 57.214 | -1.585 | -0.000398 | 102356.7 |
| Story4 | D4 | DL +YLL-EQxULS | Combination | Max | -58.042 | 0.164 | -0.000104 | 102356.7 |
| Story4 | D4 | DL +YLL-EQxULS | Combination | Min | -59.272 | -1.372 | -0.002457 | 102356.7 |
| Story4 | D4 | DL +YLL+EQyULS | Combination | Max | 0.563 | 56.786 | 0.000139 | 102356.7 |
| Story4 | D4 | DL +YLL+EQyULS | Combination | Min | -0.049 | 56.02 | -0.001035 | 102356.7 |
| Story4 | D4 | DL +YLL-EQyULS | Combination | Max | -0.78 | -57.442 | 0.000533 | 102356.7 |
| Story4 | D4 | DL +YLL-EQyULS | Combination | Min | -1.392 | -58.208 | -0.00064 | 102356.7 |
| Story4 | D4 | 0.9DL +EQxULS | Combination | Max | 58.521 | 0.17 | 0.002003 | 102356.7 |
| Story4 | D4 | 0.9DL +EQxULS | Combination | Min | 57.291 | -1.366 | -0.00035 | 102356.7 |
| Story4 | D4 | 0.9DL -EQxULS | Combination | Max | -57.965 | 0.383 | -5.7E-05 | 102356.7 |
| Story4 | D4 | 0.9DL -EQxULS | Combination | Min | -59.194 | -1.153 | -0.00241 | 102356.7 |
| Story4 | D4 | 0.9DL +EQyULS | Combination | Max | 0.641 | 57.005 | 0.000186 | 102356.7 |
| Story4 | D4 | 0.9DL +EQyULS | Combination | Min | 0.029 | 56.24 | -0.000988 | 102356.7 |
| Story4 | D4 | 0.9DL -EQyULS | Combination | Max | -0.702 | -57.223 | 0.000581 | 102356.7 |
| Story4 | D4 | 0.9DL -EQyULS | Combination | Min | -1.314 | -57.989 | -0.000593 | 102356.7 |
| Story4 | D4 | envelope | Combination | Max | 58.521 | 57.005 | 0.002003 | 102356.7 |
| Story4 | D4 | envelope | Combination | Min | -59.272 | -58.208 | -0.002457 | 102356.7 |
| Story3 | D3 | Dead | LinStatic |  | -0.153 | -0.382 | -9.5E-05 | 120452.16 |
| Story3 | D3 | Live | LinStatic |  | -0.02 | 0.094 | -2E-05 | 120452.16 |
| Story3 | D3 | 9" wall | LinStatic |  | 0.031 | 0.111 | -9E-06 | 120452.16 |
| Story3 | D3 | partition wall | LinStatic |  | -0.019 | 0.162 | -1.1E-05 | 120452.16 |
| Story3 | D3 | FF | LinStatic |  | -0.06 | -0.146 | -3.7E-05 | 120452.16 |
| Story3 | D3 | staircase steps | LinStatic |  | -0.03 | -0.303 | -2.4E-05 | 120452.16 |
| Story3 | D3 | stair live | LinStatic |  | -0.055 | -0.554 | -4.4E-05 | 120452.16 |
| Story3 | D3 | water tank | LinStatic |  | 0.002 | -0.002 | 3.069E-07 | 120452.16 |
| Story3 | D3 | EQx SLS | LinStatic | Max | 46.985 | 0.556 | 0.001652 | 120452.16 |
| Story3 | D3 | EQx SLS | LinStatic | Min | 45.097 | -0.554 | -0.000229 | 120452.16 |
| Story3 | D3 | EQy SLS | LinStatic | Max | 1.05 | 45.794 | 0.0003 | 120452.16 |
| Story3 | D3 | EQy SLS | LinStatic | Min | 0.113 | 45.242 | -0.000634 | 120452.16 |
| Story3 | D3 | EQx ULS | LinStatic | Max | 48.962 | 0.58 | 0.001721 | 120452.16 |
| Story3 | D3 | EQx ULS | LinStatic | Min | 46.993 | -0.578 | -0.000239 | 120452.16 |
| Story3 | D3 | EQy ULS | LinStatic | Max | 1.095 | 47.72 | 0.000313 | 120452.16 |
| Story3 | D3 | EQy ULS | LinStatic | Min | 0.117 | 47.145 | -0.000661 | 120452.16 |
| Story3 | D3 | ~ChineseX | LinStatic |  | 3.038 | -0.016 | 7.7E-05 | 120452.16 |
| Story3 | D3 | ~ChineseY | LinStatic |  | 0.037 | 3.027 | -9E-06 | 120452.16 |
| Story3 | D3 | 1.2DL+1.5LL | Combination |  | -0.386 | -1.363 | -0.000307 | 120452.16 |
| Story3 | D3 | DL +YLL+EQxULS | Combination | Max | 48.71 | -0.118 | 0.001526 | 120452.16 |
| Story3 | D3 | DL +YLL+EQxULS | Combination | Min | 46.741 | -1.275 | -0.000434 | 120452.16 |
| Story3 | D3 | DL +YLL-EQxULS | Combination | Max | -47.246 | -0.12 | 4.4E-05 | 120452.16 |
| Story3 | D3 | DL +YLL-EQxULS | Combination | Min | -49.214 | -1.277 | -0.001916 | 120452.16 |
| Story3 | D3 | DL +YLL+EQyULS | Combination | Max | 0.842 | 47.023 | 0.000118 | 120452.16 |
| Story3 | D3 | DL +YLL+EQyULS | Combination | Min | -0.135 | 46.448 | -0.000856 | 120452.16 |
| Story3 | D3 | DL +YLL-EQyULS | Combination | Max | -0.37 | -47.843 | 0.000466 | 120452.16 |
| Story3 | D3 | DL +YLL-EQyULS | Combination | Min | -1.347 | -48.418 | -0.000508 | 120452.16 |
| Story3 | D3 | 0.9DL +EQxULS | Combination | Max | 48.756 | 0.076 | 0.001563 | 120452.16 |
| Story3 | D3 | 0.9DL +EQxULS | Combination | Min | 46.787 | -1.082 | -0.000397 | 120452.16 |
| Story3 | D3 | 0.9DL -EQxULS | Combination | Max | -47.2 | 0.074 | 8.1E-05 | 120452.16 |
| Story3 | D3 | 0.9DL -EQxULS | Combination | Min | -49.168 | -1.084 | -0.001879 | 120452.16 |
| Story3 | D3 | 0.9DL +EQyULS | Combination | Max | 0.888 | 47.216 | 0.000155 | 120452.16 |
| Story3 | D3 | 0.9DL +EQyULS | Combination | Min | -0.089 | 46.641 | -0.000819 | 120452.16 |
| Story3 | D3 | 0.9DL -EQyULS | Combination | Max | -0.323 | -47.649 | 0.000503 | 120452.16 |
| Story3 | D3 | 0.9DL -EQyULS | Combination | Min | -1.301 | -48.224 | -0.000471 | 120452.16 |
| Story3 | D3 | envelope | Combination | Max | 48.756 | 47.216 | 0.001563 | 120452.16 |
| Story3 | D3 | envelope | Combination | Min | -49.214 | -48.418 | -0.001916 | 120452.16 |
| Story2 | D2 | Dead | LinStatic |  | -0.081 | -0.258 | -5.4E-05 | 121253.15 |
| Story2 | D2 | Live | LinStatic |  | -0.015 | 0.039 | -1.1E-05 | 121253.15 |
| Story2 | D2 | 9" wall | LinStatic |  | 0.002 | 0.081 | -7E-06 | 121253.15 |
| Story2 | D2 | partition wall | LinStatic |  | -0.015 | 0.049 | -5E-06 | 121253.15 |
| Story2 | D2 | FF | LinStatic |  | -0.031 | -0.099 | -2.1E-05 | 121253.15 |
| Story2 | D2 | staircase steps | LinStatic |  | -0.01 | -0.201 | -1.3E-05 | 121253.15 |
| Story2 | D2 | stair live | LinStatic |  | -0.019 | -0.368 | -2.4E-05 | 121253.15 |
| Story2 | D2 | water tank | LinStatic |  | 0.001 | -0.001 | 1.326E-07 | 121253.15 |
| Story2 | D2 | EQx SLS | LinStatic | Max | 32.682 | 0.418 | 0.001074 | 121253.15 |
| Story2 | D2 | EQx SLS | LinStatic | Min | 31.342 | -0.352 | -0.000234 | 121253.15 |
| Story2 | D2 | EQy SLS | LinStatic | Max | 0.725 | 31.967 | 0.000205 | 121253.15 |
| Story2 | D2 | EQy SLS | LinStatic | Min | 0.061 | 31.585 | -0.000443 | 121253.15 |
| Story2 | D2 | EQx ULS | LinStatic | Max | 34.057 | 0.435 | 0.001119 | 121253.15 |
| Story2 | D2 | EQx ULS | LinStatic | Min | 32.66 | -0.367 | -0.000244 | 121253.15 |
| Story2 | D2 | EQy ULS | LinStatic | Max | 0.756 | 33.311 | 0.000214 | 121253.15 |
| Story2 | D2 | EQy ULS | LinStatic | Min | 0.064 | 32.914 | -0.000462 | 121253.15 |
| Story2 | D2 | ~ChineseX | LinStatic |  | 2.08 | -0.009 | 4.7E-05 | 121253.15 |
| Story2 | D2 | ~ChineseY | LinStatic |  | 0.025 | 2.081 | -6E-06 | 121253.15 |
| Story2 | D2 | 1.2DL+1.5LL | Combination |  | -0.212 | -1.009 | -0.000174 | 121253.15 |
| Story2 | D2 | DL +YLL+EQxULS | Combination | Max | 33.912 | -0.093 | 0.001007 | 121253.15 |
| Story2 | D2 | DL +YLL+EQxULS | Combination | Min | 32.516 | -0.895 | -0.000356 | 121253.15 |
| Story2 | D2 | DL +YLL-EQxULS | Combination | Max | -32.805 | -0.161 | 0.000133 | 121253.15 |
| Story2 | D2 | DL +YLL-EQxULS | Combination | Min | -34.202 | -0.963 | -0.00123 | 121253.15 |
| Story2 | D2 | DL +YLL+EQyULS | Combination | Max | 0.611 | 32.784 | 0.000103 | 121253.15 |
| Story2 | D2 | DL +YLL+EQyULS | Combination | Min | -0.081 | 32.386 | -0.000573 | 121253.15 |
| Story2 | D2 | DL +YLL-EQyULS | Combination | Max | -0.209 | -33.442 | 0.000351 | 121253.15 |
| Story2 | D2 | DL +YLL-EQyULS | Combination | Min | -0.9 | -33.839 | -0.000325 | 121253.15 |
| Story2 | D2 | 0.9DL +EQxULS | Combination | Max | 33.936 | 0.049 | 0.001028 | 121253.15 |
| Story2 | D2 | 0.9DL +EQxULS | Combination | Min | 32.54 | -0.754 | -0.000335 | 121253.15 |
| Story2 | D2 | 0.9DL -EQxULS | Combination | Max | -32.781 | -0.019 | 0.000154 | 121253.15 |
| Story2 | D2 | 0.9DL -EQxULS | Combination | Min | -34.178 | -0.822 | -0.001209 | 121253.15 |
| Story2 | D2 | 0.9DL +EQyULS | Combination | Max | 0.635 | 32.925 | 0.000123 | 121253.15 |
| Story2 | D2 | 0.9DL +EQyULS | Combination | Min | -0.057 | 32.527 | -0.000552 | 121253.15 |
| Story2 | D2 | 0.9DL -EQyULS | Combination | Max | -0.184 | -33.3 | 0.000371 | 121253.15 |
| Story2 | D2 | 0.9DL -EQyULS | Combination | Min | -0.876 | -33.698 | -0.000304 | 121253.15 |
| Story2 | D2 | envelope | Combination | Max | 33.936 | 32.925 | 0.001028 | 121253.15 |
| Story2 | D2 | envelope | Combination | Min | -34.202 | -33.839 | -0.00123 | 121253.15 |
| Story1 | D1 | Dead | LinStatic |  | 0.001 | -0.104 | -1E-05 | 114857.29 |
| Story1 | D1 | Live | LinStatic |  | -0.011 | 0.006 | -4E-06 | 114857.29 |
| Story1 | D1 | 9" wall | LinStatic |  | -0.01 | 0.033 | -4E-06 | 114857.29 |
| Story1 | D1 | partition wall | LinStatic |  | -0.009 | -0.005 | -1E-06 | 114857.29 |
| Story1 | D1 | FF | LinStatic |  | 0.002 | -0.04 | -4E-06 | 114857.29 |
| Story1 | D1 | staircase steps | LinStatic |  | 0.016 | -0.079 | 2.91E-07 | 114857.29 |
| Story1 | D1 | stair live | LinStatic |  | 0.03 | -0.146 | 1E-06 | 114857.29 |
| Story1 | D1 | water tank | LinStatic |  | 0.0002672 | -0.0002171 | 2.827E-08 | 114857.29 |
| Story1 | D1 | EQx SLS | LinStatic | Max | 13.011 | 0.215 | 0.000362 | 114857.29 |
| Story1 | D1 | EQx SLS | LinStatic | Min | 12.48 | -0.088 | -0.000153 | 114857.29 |
| Story1 | D1 | EQy SLS | LinStatic | Max | 0.295 | 12.901 | 8.5E-05 | 114857.29 |
| Story1 | D1 | EQy SLS | LinStatic | Min | 0.033 | 12.751 | -0.00017 | 114857.29 |
| Story1 | D1 | EQx ULS | LinStatic | Max | 13.558 | 0.224 | 0.000377 | 114857.29 |
| Story1 | D1 | EQx ULS | LinStatic | Min | 13.005 | -0.092 | -0.000159 | 114857.29 |
| Story1 | D1 | EQy ULS | LinStatic | Max | 0.308 | 13.443 | 8.8E-05 | 114857.29 |
| Story1 | D1 | EQy ULS | LinStatic | Min | 0.034 | 13.287 | -0.000177 | 114857.29 |
| Story1 | D1 | ~ChineseX | LinStatic |  | 0.821 | -6.705E-05 | 1.4E-05 | 114857.29 |
| Story1 | D1 | ~ChineseY | LinStatic |  | 0.01 | 0.833 | -2E-06 | 114857.29 |
| Story1 | D1 | 1.2DL+1.5LL | Combination |  | 0.03 | -0.444 | -2.7E-05 | 114857.29 |
| Story1 | D1 | DL +YLL+EQxULS | Combination | Max | 13.565 | -0.014 | 0.000358 | 114857.29 |
| Story1 | D1 | DL +YLL+EQxULS | Combination | Min | 13.011 | -0.329 | -0.000178 | 114857.29 |
| Story1 | D1 | DL +YLL-EQxULS | Combination | Max | -12.998 | -0.146 | 0.00014 | 114857.29 |
| Story1 | D1 | DL +YLL-EQxULS | Combination | Min | -13.551 | -0.461 | -0.000397 | 114857.29 |
| Story1 | D1 | DL +YLL+EQyULS | Combination | Max | 0.314 | 13.206 | 6.9E-05 | 114857.29 |
| Story1 | D1 | DL +YLL+EQyULS | Combination | Min | 0.041 | 13.05 | -0.000196 | 114857.29 |
| Story1 | D1 | DL +YLL-EQyULS | Combination | Max | -0.027 | -13.525 | 0.000158 | 114857.29 |
| Story1 | D1 | DL +YLL-EQyULS | Combination | Min | -0.301 | -13.681 | -0.000108 | 114857.29 |
| Story1 | D1 | 0.9DL +EQxULS | Combination | Max | 13.559 | 0.048 | 0.000361 | 114857.29 |
| Story1 | D1 | 0.9DL +EQxULS | Combination | Min | 13.006 | -0.268 | -0.000176 | 114857.29 |
| Story1 | D1 | 0.9DL -EQxULS | Combination | Max | -13.004 | -0.084 | 0.000142 | 114857.29 |
| Story1 | D1 | 0.9DL -EQxULS | Combination | Min | -13.557 | -0.4 | -0.000394 | 114857.29 |
| Story1 | D1 | 0.9DL +EQyULS | Combination | Max | 0.309 | 13.267 | 7.2E-05 | 114857.29 |
| Story1 | D1 | 0.9DL +EQyULS | Combination | Min | 0.035 | 13.111 | -0.000193 | 114857.29 |
| Story1 | D1 | 0.9DL -EQyULS | Combination | Max | -0.033 | -13.463 | 0.00016 | 114857.29 |
| Story1 | D1 | 0.9DL -EQyULS | Combination | Min | -0.307 | -13.62 | -0.000105 | 114857.29 |
| Story1 | D1 | envelope | Combination | Max | 13.565 | 13.267 | 0.000361 | 114857.29 |
| Story1 | D1 | envelope | Combination | Min | -13.557 | -13.681 | -0.000397 | 114857.29 |

Table 4.3 - Diaphragm Center Of Mass Displacements (Part 2 of 2)

| Story | Diaphragm | Diaphragm Mass Y kg | Diaphragm MMI RZ ton-m2 |
| --- | --- | --- | --- |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story5 | D5 | 58521.99 | 1281.5186 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story4 | D4 | 102356.7 | 2888.214 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story3 | D3 | 120452.16 | 3513.947 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story2 | D2 | 121253.15 | 3540.5331 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |
| Story1 | D1 | 114857.29 | 3494.1362 |

## 4.2 Story Results

Table 4.4 - Story Max Over Avg Displacements

| Story | Output Case | Case Type | Step Type | Direction | Maximum mm | Average mm | Ratio |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Story5 | Dead | LinStatic |  | X | 1.649 | 0.785 | 2.101 |
| Story5 | Dead | LinStatic |  | Y | 0.909 | 0.392 | 2.321 |
| Story4 | Dead | LinStatic |  | X | 1.468 | 0.475 | 3.089 |
| Story4 | Dead | LinStatic |  | Y | 0.915 | 0.411 | 2.227 |
| Story3 | Dead | LinStatic |  | X | 1.118 | 0.366 | 3.05 |
| Story3 | Dead | LinStatic |  | Y | 0.756 | 0.374 | 2.02 |
| Story2 | Dead | LinStatic |  | X | 0.631 | 0.202 | 3.12 |
| Story2 | Dead | LinStatic |  | Y | 0.471 | 0.254 | 1.859 |
| Story1 | Dead | LinStatic |  | X | 0.098 | 0.019 | 5.052 |
| Story1 | Dead | LinStatic |  | Y | 0.144 | 0.103 | 1.387 |
| Story5 | Live | LinStatic |  | X | 0.397 | 0.189 | 2.102 |
| Story5 | Live | LinStatic |  | Y | 0.311 | 0.187 | 1.668 |
| Story4 | Live | LinStatic |  | X | 0.326 | 0.097 | 3.344 |
| Story4 | Live | LinStatic |  | Y | 0.266 | 0.15 | 1.772 |
| Story3 | Live | LinStatic |  | X | 0.227 | 0.066 | 3.459 |
| Story3 | Live | LinStatic |  | Y | 0.178 | 0.096 | 1.858 |
| Story2 | Live | LinStatic |  | X | 0.127 | 0.04 | 3.18 |
| Story2 | Live | LinStatic |  | Y | 0.085 | 0.04 | 2.098 |
| Story1 | Live | LinStatic |  | X | 0.049 | 0.019 | 2.603 |
| Story1 | Live | LinStatic |  | Y | 0.022 | 0.007 | 3.287 |
| Story5 | 9" wall | LinStatic |  | X | 0.064 | 0.043 | 1.505 |
| Story5 | 9" wall | LinStatic |  | Y | 0.137 | 0.124 | 1.104 |
| Story4 | 9" wall | LinStatic |  | X | 0.089 | 0.033 | 2.678 |
| Story4 | 9" wall | LinStatic |  | Y | 0.167 | 0.138 | 1.205 |
| Story3 | 9" wall | LinStatic |  | Y | 0.147 | 0.111 | 1.32 |
| Story2 | 9" wall | LinStatic |  | X | 0.073 | 0.015 | 4.993 |
| Story2 | 9" wall | LinStatic |  | Y | 0.112 | 0.082 | 1.36 |
| Story1 | 9" wall | LinStatic |  | X | 0.046 | 0.017 | 2.675 |
| Story1 | 9" wall | LinStatic |  | Y | 0.048 | 0.033 | 1.438 |
| Story5 | partition wall | LinStatic |  | X | 0.192 | 0.094 | 2.048 |
| Story5 | partition wall | LinStatic |  | Y | 0.368 | 0.309 | 1.19 |
| Story4 | partition wall | LinStatic |  | X | 0.184 | 0.055 | 3.323 |
| Story4 | partition wall | LinStatic |  | Y | 0.342 | 0.277 | 1.236 |
| Story3 | partition wall | LinStatic |  | X | 0.135 | 0.045 | 3.006 |
| Story3 | partition wall | LinStatic |  | Y | 0.209 | 0.163 | 1.281 |
| Story2 | partition wall | LinStatic |  | X | 0.065 | 0.026 | 2.501 |
| Story2 | partition wall | LinStatic |  | Y | 0.069 | 0.049 | 1.408 |
| Story1 | partition wall | LinStatic |  | X | 0.023 | 0.012 | 1.9 |
| Story1 | partition wall | LinStatic |  | Y | 0.01 | 0.004 | 2.238 |
| Story5 | FF | LinStatic |  | X | 0.647 | 0.309 | 2.095 |
| Story5 | FF | LinStatic |  | Y | 0.358 | 0.156 | 2.3 |
| Story4 | FF | LinStatic |  | X | 0.572 | 0.187 | 3.056 |
| Story4 | FF | LinStatic |  | Y | 0.355 | 0.159 | 2.226 |
| Story3 | FF | LinStatic |  | X | 0.432 | 0.143 | 3.034 |
| Story3 | FF | LinStatic |  | Y | 0.29 | 0.143 | 2.029 |
| Story2 | FF | LinStatic |  | X | 0.242 | 0.077 | 3.133 |
| Story2 | FF | LinStatic |  | Y | 0.181 | 0.097 | 1.861 |
| Story1 | FF | LinStatic |  | X | 0.036 | 0.006 | 5.798 |
| Story1 | FF | LinStatic |  | Y | 0.055 | 0.04 | 1.373 |
| Story5 | staircase steps | LinStatic |  | X | 0.313 | 0.137 | 2.277 |
| Story5 | staircase steps | LinStatic |  | Y | 0.526 | 0.421 | 1.25 |
| Story4 | staircase steps | LinStatic |  | X | 0.323 | 0.096 | 3.377 |
| Story4 | staircase steps | LinStatic |  | Y | 0.499 | 0.383 | 1.302 |
| Story3 | staircase steps | LinStatic |  | X | 0.271 | 0.083 | 3.26 |
| Story3 | staircase steps | LinStatic |  | Y | 0.396 | 0.301 | 1.318 |
| Story2 | staircase steps | LinStatic |  | X | 0.144 | 0.04 | 3.631 |
| Story2 | staircase steps | LinStatic |  | Y | 0.253 | 0.2 | 1.266 |
| Story1 | staircase steps | LinStatic |  | X | 0.019 | 0.017 | 1.135 |
| Story1 | staircase steps | LinStatic |  | Y | 0.081 | 0.079 | 1.015 |
| Story5 | stair live | LinStatic |  | X | 0.573 | 0.252 | 2.277 |
| Story5 | stair live | LinStatic |  | Y | 0.964 | 0.771 | 1.25 |
| Story4 | stair live | LinStatic |  | X | 0.592 | 0.175 | 3.377 |
| Story4 | stair live | LinStatic |  | Y | 0.913 | 0.702 | 1.302 |
| Story3 | stair live | LinStatic |  | X | 0.497 | 0.152 | 3.26 |
| Story3 | stair live | LinStatic |  | Y | 0.726 | 0.551 | 1.318 |
| Story2 | stair live | LinStatic |  | X | 0.265 | 0.073 | 3.631 |
| Story2 | stair live | LinStatic |  | Y | 0.464 | 0.366 | 1.266 |
| Story1 | stair live | LinStatic |  | X | 0.035 | 0.031 | 1.135 |
| Story1 | stair live | LinStatic |  | Y | 0.148 | 0.146 | 1.015 |
| Story5 | water tank | LinStatic |  | X | 0.008 | 0.004 | 2.245 |
| Story5 | water tank | LinStatic |  | Y | 0.004 | 0.001 | 3.905 |
| Story4 | water tank | LinStatic |  | X | 0.009 | 0.005 | 1.759 |
| Story4 | water tank | LinStatic |  | Y | 0.006 | 0.004 | 1.541 |
| Story3 | water tank | LinStatic |  | X | 0.006 | 0.003 | 1.775 |
| Story3 | water tank | LinStatic |  | Y | 0.003 | 0.002 | 1.601 |
| Story2 | water tank | LinStatic |  | X | 0.002 | 0.001 | 1.724 |
| Story2 | water tank | LinStatic |  | Y | 0.002 | 0.001 | 1.533 |
| Story1 | water tank | LinStatic |  | X | 0.001 | 0.0003262 | 1.685 |
| Story1 | water tank | LinStatic |  | Y | 0.0003326 | 0.0002192 | 1.518 |
| Story5 | EQx SLS | LinStatic | Max | X | 83.56 | 72.906 | 1.146 |
| Story4 | EQx SLS | LinStatic | Max | X | 75.782 | 66.32 | 1.143 |
| Story3 | EQx SLS | LinStatic | Max | X | 61.852 | 54.573 | 1.133 |
| Story2 | EQx SLS | LinStatic | Max | X | 42.219 | 37.488 | 1.126 |
| Story1 | EQx SLS | LinStatic | Max | X | 16.096 | 14.5 | 1.11 |
| Story5 | EQx SLS | LinStatic | Min | X | 61.884 | 57.997 | 1.067 |
| Story4 | EQx SLS | LinStatic | Min | X | 56.361 | 49.345 | 1.142 |
| Story3 | EQx SLS | LinStatic | Min | X | 46.681 | 41.217 | 1.133 |
| Story2 | EQx SLS | LinStatic | Min | X | 32.373 | 28.816 | 1.123 |
| Story1 | EQx SLS | LinStatic | Min | X | 12.831 | 11.604 | 1.106 |
| Story5 | EQy SLS | LinStatic | Max | Y | 63.154 | 61.549 | 1.026 |
| Story4 | EQy SLS | LinStatic | Max | Y | 58.211 | 56.51 | 1.03 |
| Story3 | EQy SLS | LinStatic | Max | Y | 48.393 | 46.959 | 1.031 |
| Story2 | EQy SLS | LinStatic | Max | Y | 33.784 | 32.782 | 1.031 |
| Story1 | EQy SLS | LinStatic | Max | Y | 13.595 | 13.211 | 1.029 |
| Story5 | EQy SLS | LinStatic | Min | Y | 59.737 | 58.394 | 1.023 |
| Story4 | EQy SLS | LinStatic | Min | Y | 54.624 | 53.398 | 1.023 |
| Story3 | EQy SLS | LinStatic | Min | Y | 45.37 | 44.336 | 1.023 |
| Story2 | EQy SLS | LinStatic | Min | Y | 31.672 | 30.949 | 1.023 |
| Story1 | EQy SLS | LinStatic | Min | Y | 12.788 | 12.51 | 1.022 |
| Story5 | EQx ULS | LinStatic | Max | X | 87.074 | 75.972 | 1.146 |
| Story4 | EQx ULS | LinStatic | Max | X | 78.969 | 69.11 | 1.143 |
| Story3 | EQx ULS | LinStatic | Max | X | 64.454 | 56.868 | 1.133 |
| Story2 | EQx ULS | LinStatic | Max | X | 43.995 | 39.065 | 1.126 |
| Story1 | EQx ULS | LinStatic | Max | X | 16.773 | 15.11 | 1.11 |
| Story5 | EQx ULS | LinStatic | Min | X | 64.487 | 60.437 | 1.067 |
| Story4 | EQx ULS | LinStatic | Min | X | 58.732 | 51.421 | 1.142 |
| Story3 | EQx ULS | LinStatic | Min | X | 48.644 | 42.951 | 1.133 |
| Story2 | EQx ULS | LinStatic | Min | X | 33.735 | 30.028 | 1.123 |
| Story1 | EQx ULS | LinStatic | Min | X | 13.371 | 12.092 | 1.106 |
| Story5 | EQy ULS | LinStatic | Max | Y | 65.81 | 64.138 | 1.026 |
| Story4 | EQy ULS | LinStatic | Max | Y | 60.659 | 58.887 | 1.03 |
| Story3 | EQy ULS | LinStatic | Max | Y | 50.429 | 48.935 | 1.031 |
| Story2 | EQy ULS | LinStatic | Max | Y | 35.205 | 34.161 | 1.031 |
| Story1 | EQy ULS | LinStatic | Max | Y | 14.166 | 13.766 | 1.029 |
| Story5 | EQy ULS | LinStatic | Min | Y | 62.25 | 60.85 | 1.023 |
| Story4 | EQy ULS | LinStatic | Min | Y | 56.922 | 55.644 | 1.023 |
| Story3 | EQy ULS | LinStatic | Min | Y | 47.278 | 46.201 | 1.023 |
| Story2 | EQy ULS | LinStatic | Min | Y | 33.004 | 32.251 | 1.023 |
| Story1 | EQy ULS | LinStatic | Min | Y | 13.326 | 13.036 | 1.022 |
| Story5 | ~ChineseX | LinStatic |  | X | 5.442 | 4.704 | 1.157 |
| Story4 | ~ChineseX | LinStatic |  | X | 4.807 | 3.981 | 1.208 |
| Story3 | ~ChineseX | LinStatic |  | X | 3.814 | 3.21 | 1.188 |
| Story2 | ~ChineseX | LinStatic |  | X | 2.555 | 2.184 | 1.169 |
| Story1 | ~ChineseX | LinStatic |  | X | 0.962 | 0.851 | 1.131 |
| Story5 | ~ChineseY | LinStatic |  | Y | 4.253 | 4.211 | 1.01 |
| Story4 | ~ChineseY | LinStatic |  | Y | 3.776 | 3.735 | 1.011 |
| Story3 | ~ChineseY | LinStatic |  | Y | 3.064 | 3.027 | 1.012 |
| Story2 | ~ChineseY | LinStatic |  | Y | 2.107 | 2.081 | 1.012 |
| Story1 | ~ChineseY | LinStatic |  | Y | 0.842 | 0.833 | 1.011 |
| Story5 | 1.2DL+1.5LL | Combination |  | X | 4.779 | 2.194 | 2.178 |
| Story5 | 1.2DL+1.5LL | Combination |  | Y | 3.068 | 1.521 | 2.018 |
| Story4 | 1.2DL+1.5LL | Combination |  | X | 4.446 | 1.337 | 3.325 |
| Story4 | 1.2DL+1.5LL | Combination |  | Y | 3.058 | 1.479 | 2.068 |
| Story3 | 1.2DL+1.5LL | Combination |  | X | 3.497 | 1.074 | 3.256 |
| Story3 | 1.2DL+1.5LL | Combination |  | Y | 2.568 | 1.337 | 1.921 |
| Story2 | 1.2DL+1.5LL | Combination |  | X | 1.971 | 0.599 | 3.289 |
| Story2 | 1.2DL+1.5LL | Combination |  | Y | 1.691 | 0.994 | 1.701 |
| Story1 | 1.2DL+1.5LL | Combination |  | Y | 0.55 | 0.442 | 1.245 |
| Story5 | DL +YLL+EQxULS | Combination | Max | X | 84.009 | 74.234 | 1.132 |
| Story4 | DL +YLL+EQxULS | Combination | Max | X | 76.13 | 67.511 | 1.128 |
| Story3 | DL +YLL+EQxULS | Combination | Max | X | 62.225 | 55.498 | 1.121 |
| Story2 | DL +YLL+EQxULS | Combination | Max | X | 42.723 | 38.283 | 1.116 |
| Story1 | DL +YLL+EQxULS | Combination | Max | X | 16.586 | 15.009 | 1.105 |
| Story5 | DL +YLL+EQxULS | Combination | Min | X | 63.782 | 60.205 | 1.059 |
| Story4 | DL +YLL+EQxULS | Combination | Min | X | 58.102 | 51.667 | 1.125 |
| Story3 | DL +YLL+EQxULS | Combination | Min | X | 48.133 | 43.121 | 1.116 |
| Story2 | DL +YLL+EQxULS | Combination | Min | X | 33.444 | 30.125 | 1.11 |
| Story1 | DL +YLL+EQxULS | Combination | Min | X | 13.355 | 12.144 | 1.1 |
| Story5 | DL +YLL-EQxULS | Combination | Max | X | 66.594 | 61.37 | 1.085 |
| Story4 | DL +YLL-EQxULS | Combination | Max | X | 60.276 | 51.632 | 1.167 |
| Story3 | DL +YLL-EQxULS | Combination | Max | X | 49.156 | 42.782 | 1.149 |
| Story2 | DL +YLL-EQxULS | Combination | Max | X | 34.026 | 29.931 | 1.137 |
| Story1 | DL +YLL-EQxULS | Combination | Max | X | 13.387 | 12.04 | 1.112 |
| Story5 | DL +YLL-EQxULS | Combination | Min | X | 90.14 | 77.385 | 1.165 |
| Story4 | DL +YLL-EQxULS | Combination | Min | X | 81.809 | 70.222 | 1.165 |
| Story3 | DL +YLL-EQxULS | Combination | Min | X | 66.684 | 57.997 | 1.15 |
| Story2 | DL +YLL-EQxULS | Combination | Min | X | 45.267 | 39.846 | 1.136 |
| Story1 | DL +YLL-EQxULS | Combination | Min | X | 16.96 | 15.212 | 1.115 |
| Story5 | DL +YLL+EQyULS | Combination | Max | Y | 66.089 | 63.897 | 1.034 |
| Story4 | DL +YLL+EQyULS | Combination | Max | Y | 60.959 | 58.61 | 1.04 |
| Story3 | DL +YLL+EQyULS | Combination | Max | Y | 50.53 | 48.588 | 1.04 |
| Story2 | DL +YLL+EQyULS | Combination | Max | Y | 35.133 | 33.837 | 1.038 |
| Story1 | DL +YLL+EQyULS | Combination | Max | Y | 14.008 | 13.564 | 1.033 |
| Story5 | DL +YLL+EQyULS | Combination | Min | Y | 61.488 | 59.619 | 1.031 |
| Story4 | DL +YLL+EQyULS | Combination | Min | Y | 56.088 | 54.371 | 1.032 |
| Story3 | DL +YLL+EQyULS | Combination | Min | Y | 46.498 | 45.079 | 1.031 |
| Story2 | DL +YLL+EQyULS | Combination | Min | Y | 32.429 | 31.481 | 1.03 |
| Story1 | DL +YLL+EQyULS | Combination | Min | Y | 13.08 | 12.756 | 1.025 |
| Story5 | DL +YLL-EQyULS | Combination | Max | Y | 63.012 | 61.631 | 1.022 |
| Story4 | DL +YLL-EQyULS | Combination | Max | Y | 57.755 | 56.308 | 1.026 |
| Story3 | DL +YLL-EQyULS | Combination | Max | Y | 48.058 | 46.91 | 1.024 |
| Story2 | DL +YLL-EQyULS | Combination | Max | Y | 33.579 | 32.844 | 1.022 |
| Story1 | DL +YLL-EQyULS | Combination | Max | Y | 13.572 | 13.316 | 1.019 |
| Story5 | DL +YLL-EQyULS | Combination | Min | Y | 65.531 | 64.38 | 1.018 |
| Story4 | DL +YLL-EQyULS | Combination | Min | Y | 60.359 | 59.153 | 1.02 |
| Story3 | DL +YLL-EQyULS | Combination | Min | Y | 50.327 | 49.274 | 1.021 |
| Story2 | DL +YLL-EQyULS | Combination | Min | Y | 35.277 | 34.484 | 1.023 |
| Story1 | DL +YLL-EQyULS | Combination | Min | Y | 14.325 | 13.968 | 1.025 |
| Story5 | 0.9DL +EQxULS | Combination | Max | X | 84.58 | 74.584 | 1.134 |
| Story4 | 0.9DL +EQxULS | Combination | Max | X | 76.665 | 67.838 | 1.13 |
| Story3 | 0.9DL +EQxULS | Combination | Max | X | 62.645 | 55.756 | 1.124 |
| Story2 | 0.9DL +EQxULS | Combination | Max | X | 42.957 | 38.426 | 1.118 |
| Story1 | 0.9DL +EQxULS | Combination | Max | X | 16.608 | 15.019 | 1.106 |
| Story5 | 0.9DL +EQxULS | Combination | Min | X | 63.911 | 60.246 | 1.061 |
| Story4 | 0.9DL +EQxULS | Combination | Min | X | 58.22 | 51.62 | 1.128 |
| Story3 | 0.9DL +EQxULS | Combination | Min | X | 48.228 | 43.087 | 1.119 |
| Story2 | 0.9DL +EQxULS | Combination | Min | X | 33.495 | 30.104 | 1.113 |
| Story1 | 0.9DL +EQxULS | Combination | Min | X | 13.353 | 12.131 | 1.101 |
| Story5 | 0.9DL -EQxULS | Combination | Max | X | 66.023 | 61.108 | 1.08 |
| Story4 | 0.9DL -EQxULS | Combination | Max | X | 59.741 | 51.471 | 1.161 |
| Story3 | 0.9DL -EQxULS | Combination | Max | X | 49.06 | 42.815 | 1.146 |
| Story2 | 0.9DL -EQxULS | Combination | Max | X | 33.975 | 29.952 | 1.134 |
| Story1 | 0.9DL -EQxULS | Combination | Max | X | 13.39 | 12.053 | 1.111 |
| Story5 | 0.9DL -EQxULS | Combination | Min | X | 89.569 | 77.123 | 1.161 |
| Story4 | 0.9DL -EQxULS | Combination | Min | X | 81.273 | 70.061 | 1.16 |
| Story3 | 0.9DL -EQxULS | Combination | Min | X | 66.263 | 57.805 | 1.146 |
| Story2 | 0.9DL -EQxULS | Combination | Min | X | 45.033 | 39.704 | 1.134 |
| Story1 | 0.9DL -EQxULS | Combination | Min | X | 16.937 | 15.202 | 1.114 |
| Story5 | 0.9DL +EQyULS | Combination | Max | Y | 66.132 | 64.037 | 1.033 |
| Story4 | 0.9DL +EQyULS | Combination | Max | Y | 60.988 | 58.755 | 1.038 |
| Story3 | 0.9DL +EQyULS | Combination | Max | Y | 50.572 | 48.721 | 1.038 |
| Story2 | 0.9DL +EQyULS | Combination | Max | Y | 35.189 | 33.941 | 1.037 |
| Story1 | 0.9DL +EQyULS | Combination | Max | Y | 14.058 | 13.62 | 1.032 |
| Story5 | 0.9DL +EQyULS | Combination | Min | Y | 61.726 | 59.945 | 1.03 |
| Story4 | 0.9DL +EQyULS | Combination | Min | Y | 56.33 | 54.696 | 1.03 |
| Story3 | 0.9DL +EQyULS | Combination | Min | Y | 46.707 | 45.353 | 1.03 |
| Story2 | 0.9DL +EQyULS | Combination | Min | Y | 32.579 | 31.667 | 1.029 |
| Story1 | 0.9DL +EQyULS | Combination | Min | Y | 13.142 | 12.824 | 1.025 |
| Story5 | 0.9DL -EQyULS | Combination | Max | Y | 62.774 | 61.49 | 1.021 |
| Story4 | 0.9DL -EQyULS | Combination | Max | Y | 57.513 | 56.172 | 1.024 |
| Story3 | 0.9DL -EQyULS | Combination | Max | Y | 47.849 | 46.785 | 1.023 |
| Story2 | 0.9DL -EQyULS | Combination | Max | Y | 33.429 | 32.741 | 1.021 |
| Story1 | 0.9DL -EQyULS | Combination | Max | Y | 13.509 | 13.248 | 1.02 |
| Story5 | 0.9DL -EQyULS | Combination | Min | Y | 65.488 | 64.239 | 1.019 |
| Story4 | 0.9DL -EQyULS | Combination | Min | Y | 60.331 | 59.018 | 1.022 |
| Story3 | 0.9DL -EQyULS | Combination | Min | Y | 50.285 | 49.148 | 1.023 |
| Story2 | 0.9DL -EQyULS | Combination | Min | Y | 35.22 | 34.381 | 1.024 |
| Story1 | 0.9DL -EQyULS | Combination | Min | Y | 14.275 | 13.912 | 1.026 |
| Story5 | envelope | Combination | Max | X | 84.58 | 74.584 | 1.134 |
| Story5 | envelope | Combination | Max | Y | 66.132 | 64.037 | 1.033 |
| Story4 | envelope | Combination | Max | X | 76.665 | 67.838 | 1.13 |
| Story4 | envelope | Combination | Max | Y | 60.988 | 58.755 | 1.038 |
| Story3 | envelope | Combination | Max | X | 62.645 | 55.756 | 1.124 |
| Story3 | envelope | Combination | Max | Y | 50.572 | 48.721 | 1.038 |
| Story2 | envelope | Combination | Max | X | 42.957 | 38.426 | 1.118 |
| Story2 | envelope | Combination | Max | Y | 35.189 | 33.941 | 1.037 |
| Story1 | envelope | Combination | Max | X | 16.608 | 15.02 | 1.106 |
| Story1 | envelope | Combination | Max | Y | 14.058 | 13.62 | 1.032 |
| Story5 | envelope | Combination | Min | X | 90.14 | 77.409 | 1.164 |
| Story5 | envelope | Combination | Min | Y | 65.531 | 64.38 | 1.018 |
| Story4 | envelope | Combination | Min | X | 81.809 | 70.328 | 1.163 |
| Story4 | envelope | Combination | Min | Y | 60.359 | 59.153 | 1.02 |
| Story3 | envelope | Combination | Min | X | 66.684 | 58.015 | 1.149 |
| Story3 | envelope | Combination | Min | Y | 50.327 | 49.274 | 1.021 |
| Story2 | envelope | Combination | Min | X | 45.267 | 39.846 | 1.136 |
| Story2 | envelope | Combination | Min | Y | 35.277 | 34.484 | 1.023 |
| Story1 | envelope | Combination | Min | X | 16.96 | 15.213 | 1.115 |
| Story1 | envelope | Combination | Min | Y | 14.325 | 13.968 | 1.025 |

Table 4.5 - Story Drifts

| Story | Output Case | Case Type | Step Type | Direction | Drift | Drift/ | Label | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story5 | Dead | LinStatic |  | X | 6.3E-05 | 1/15839 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | Dead | LinStatic |  | Y | 3.9E-05 | 1/25785 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | Live | LinStatic |  | X | 2.5E-05 | 1/40178 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | Live | LinStatic |  | Y | 2.2E-05 | 1/45500 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | 9" wall | LinStatic |  | X | 1.6E-05 | 1/61627 | 53 | 8.0264 | 0.3556 | 15.0876 |
| Story5 | 9" wall | LinStatic |  | Y | 9E-06 | 1/113401 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | partition wall | LinStatic |  | X | 4E-06 | 1/231760 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | partition wall | LinStatic |  | Y | 1.4E-05 | 1/70655 | 53 | 8.0264 | 0.3556 | 15.0876 |
| Story5 | FF | LinStatic |  | X | 2.6E-05 | 1/38200 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | FF | LinStatic |  | Y | 1.4E-05 | 1/69601 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | staircase steps | LinStatic |  | X | 4E-06 | 1/281457 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | staircase steps | LinStatic |  | Y | 1E-05 | 1/95476 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | stair live | LinStatic |  | X | 7E-06 | 1/153676 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | stair live | LinStatic |  | Y | 1.9E-05 | 1/52130 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | water tank | LinStatic |  | X | 1E-06 | 1/745415 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | water tank | LinStatic |  | Y | 2E-06 | 1/585606 | 53 | 8.0264 | 0.3556 | 15.0876 |
| Story5 | EQx SLS | LinStatic | Max | X | 0.002698 | 1/371 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | EQx SLS | LinStatic | Min | X | 0.00202 | 1/495 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | EQy SLS | LinStatic | Max | Y | 0.001872 | 1/534 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | EQy SLS | LinStatic | Min | Y | 0.001766 | 1/566 | 62 | 4.5212 | 12.3444 | 15.0876 |
| Story5 | EQx ULS | LinStatic | Max | X | 0.002811 | 1/356 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | EQx ULS | LinStatic | Min | X | 0.002105 | 1/475 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | EQy ULS | LinStatic | Max | Y | 0.001951 | 1/513 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | EQy ULS | LinStatic | Min | Y | 0.00184 | 1/543 | 62 | 4.5212 | 12.3444 | 15.0876 |
| Story5 | ~ChineseX | LinStatic |  | X | 0.00022 | 1/4547 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | ~ChineseY | LinStatic |  | Y | 0.000167 | 1/5990 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | 1.2DL+1.5LL | Combination |  | X | 0.000116 | 1/8612 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | 1.2DL+1.5LL | Combination |  | Y | 6.1E-05 | 1/16395 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | DL +YLL+EQxULS | Combination | Max | X | 0.002732 | 1/366 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | DL +YLL+EQxULS | Combination | Min | X | 0.002026 | 1/493 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | DL +YLL-EQxULS | Combination | Max | X | 0.002184 | 1/458 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | DL +YLL-EQxULS | Combination | Min | X | 0.00289 | 1/346 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | DL +YLL+EQyULS | Combination | Max | Y | 0.001999 | 1/500 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | DL +YLL+EQyULS | Combination | Min | Y | 0.001865 | 1/536 | 62 | 4.5212 | 12.3444 | 15.0876 |
| Story5 | DL +YLL-EQyULS | Combination | Max | Y | 0.001816 | 1/551 | 62 | 4.5212 | 12.3444 | 15.0876 |
| Story5 | DL +YLL-EQyULS | Combination | Min | Y | 0.001903 | 1/525 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | 0.9DL +EQxULS | Combination | Max | X | 0.002745 | 1/364 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | 0.9DL +EQxULS | Combination | Min | X | 0.002039 | 1/490 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | 0.9DL -EQxULS | Combination | Max | X | 0.002172 | 1/460 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | 0.9DL -EQxULS | Combination | Min | X | 0.002878 | 1/348 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | 0.9DL +EQyULS | Combination | Max | Y | 0.001993 | 1/502 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | 0.9DL +EQyULS | Combination | Min | Y | 0.001863 | 1/537 | 62 | 4.5212 | 12.3444 | 15.0876 |
| Story5 | 0.9DL -EQyULS | Combination | Max | Y | 0.001817 | 1/550 | 62 | 4.5212 | 12.3444 | 15.0876 |
| Story5 | 0.9DL -EQyULS | Combination | Min | Y | 0.001908 | 1/524 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | envelope | Combination | Max | X | 0.002745 | 1/364 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | envelope | Combination | Max | Y | 0.001999 | 1/500 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story5 | envelope | Combination | Min | X | 0.00289 | 1/346 | 72 | 3.2766 | -0.127 | 15.0876 |
| Story5 | envelope | Combination | Min | Y | 0.001908 | 1/524 | 63 | 0.635 | 12.3444 | 15.0876 |
| Story4 | Dead | LinStatic |  | X | 0.000122 | 1/8173 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | Dead | LinStatic |  | Y | 5.7E-05 | 1/17570 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | Live | LinStatic |  | X | 3.4E-05 | 1/29176 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | Live | LinStatic |  | Y | 3E-05 | 1/32835 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | 9" wall | LinStatic |  | X | 1.3E-05 | 1/78985 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | 9" wall | LinStatic |  | Y | 1.3E-05 | 1/74148 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | partition wall | LinStatic |  | Y | 4.6E-05 | 1/21774 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | FF | LinStatic |  | X | 4.9E-05 | 1/20571 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | FF | LinStatic |  | Y | 2.3E-05 | 1/43761 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | staircase steps | LinStatic |  | X | 1.8E-05 | 1/55049 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | staircase steps | LinStatic |  | Y | 3.5E-05 | 1/28255 | 6 | 8.0264 | 2.9972 | 12.192 |
| Story4 | stair live | LinStatic |  | X | 3.3E-05 | 1/30057 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | stair live | LinStatic |  | Y | 6.5E-05 | 1/15427 | 6 | 8.0264 | 2.9972 | 12.192 |
| Story4 | water tank | LinStatic |  | X | 2E-06 | 1/497947 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | water tank | LinStatic |  | Y | 1E-06 | 1/0 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | EQx SLS | LinStatic | Max | X | 0.004831 | 1/207 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | EQx SLS | LinStatic | Min | X | 0.003616 | 1/277 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | EQy SLS | LinStatic | Max | Y | 0.00339 | 1/295 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | EQy SLS | LinStatic | Min | Y | 0.003196 | 1/313 | 65 | 4.5212 | 15.7988 | 12.192 |
| Story4 | EQx ULS | LinStatic | Max | X | 0.005034 | 1/199 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | EQx ULS | LinStatic | Min | X | 0.003768 | 1/265 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | EQy ULS | LinStatic | Max | Y | 0.003533 | 1/283 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | EQy ULS | LinStatic | Min | Y | 0.00333 | 1/300 | 65 | 4.5212 | 15.7988 | 12.192 |
| Story4 | ~ChineseX | LinStatic |  | X | 0.000344 | 1/2906 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | ~ChineseY | LinStatic |  | Y | 0.000246 | 1/4065 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | 1.2DL+1.5LL | Combination |  | X | 0.000332 | 1/3015 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | 1.2DL+1.5LL | Combination |  | Y | 0.000173 | 1/5794 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | DL +YLL+EQxULS | Combination | Max | X | 0.004821 | 1/207 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | DL +YLL+EQxULS | Combination | Min | X | 0.003555 | 1/281 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | DL +YLL+EQxULS | Combination | Min | Y | 0.000671 | 1/1490 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | DL +YLL-EQxULS | Combination | Max | X | 0.003981 | 1/251 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | DL +YLL-EQxULS | Combination | Min | X | 0.005247 | 1/191 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | DL +YLL+EQyULS | Combination | Max | Y | 0.003602 | 1/278 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | DL +YLL+EQyULS | Combination | Min | Y | 0.003312 | 1/302 | 65 | 4.5212 | 15.7988 | 12.192 |
| Story4 | DL +YLL-EQyULS | Combination | Max | Y | 0.003349 | 1/299 | 65 | 4.5212 | 15.7988 | 12.192 |
| Story4 | DL +YLL-EQyULS | Combination | Min | Y | 0.003513 | 1/285 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | 0.9DL +EQxULS | Combination | Max | X | 0.004861 | 1/206 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | 0.9DL +EQxULS | Combination | Min | X | 0.003595 | 1/278 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | 0.9DL -EQxULS | Combination | Max | X | 0.003941 | 1/254 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | 0.9DL -EQxULS | Combination | Min | X | 0.005207 | 1/192 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | 0.9DL +EQyULS | Combination | Max | Y | 0.003597 | 1/278 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | 0.9DL +EQyULS | Combination | Min | Y | 0.003323 | 1/301 | 65 | 4.5212 | 15.7988 | 12.192 |
| Story4 | 0.9DL -EQyULS | Combination | Max | Y | 0.003337 | 1/300 | 65 | 4.5212 | 15.7988 | 12.192 |
| Story4 | 0.9DL -EQyULS | Combination | Min | Y | 0.003489 | 1/287 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story4 | envelope | Combination | Max | X | 0.004861 | 1/206 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | envelope | Combination | Max | Y | 0.003602 | 1/278 | 66 | 0 | 15.7988 | 12.192 |
| Story4 | envelope | Combination | Min | X | 0.005247 | 1/191 | 72 | 3.2766 | -0.127 | 12.192 |
| Story4 | envelope | Combination | Min | Y | 0.003513 | 1/285 | 53 | 8.0264 | 0.3556 | 12.192 |
| Story3 | Dead | LinStatic |  | X | 0.00017 | 1/5885 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | Dead | LinStatic |  | Y | 9.8E-05 | 1/10177 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story3 | Live | LinStatic |  | X | 3.5E-05 | 1/28624 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | Live | LinStatic |  | Y | 3.3E-05 | 1/30576 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | 9" wall | LinStatic |  | X | 1.4E-05 | 1/73708 | 84 | 7.7724 | 16.891 | 9.2964 |
| Story3 | 9" wall | LinStatic |  | Y | 1.2E-05 | 1/81315 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | partition wall | LinStatic |  | X | 2.4E-05 | 1/41098 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | partition wall | LinStatic |  | Y | 4.9E-05 | 1/20498 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | FF | LinStatic |  | X | 6.6E-05 | 1/15075 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | FF | LinStatic |  | Y | 3.8E-05 | 1/26518 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story3 | staircase steps | LinStatic |  | X | 4.4E-05 | 1/22571 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | staircase steps | LinStatic |  | Y | 4.9E-05 | 1/20252 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story3 | stair live | LinStatic |  | X | 8.1E-05 | 1/12324 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | stair live | LinStatic |  | Y | 9E-05 | 1/11058 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story3 | water tank | LinStatic |  | X | 1E-06 | 1/940663 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | water tank | LinStatic |  | Y | 1E-06 | 1/0 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | EQx SLS | LinStatic | Max | X | 0.006806 | 1/147 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | EQx SLS | LinStatic | Min | X | 0.004961 | 1/202 | 53 | 8.0264 | 0.3556 | 9.2964 |
| Story3 | EQx SLS | LinStatic | Min | Y | 0.000923 | 1/1084 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | EQy SLS | LinStatic | Max | Y | 0.005057 | 1/198 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | EQy SLS | LinStatic | Min | Y | 0.004731 | 1/211 | 65 | 4.5212 | 15.7988 | 9.2964 |
| Story3 | EQx ULS | LinStatic | Max | X | 0.007092 | 1/141 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | EQx ULS | LinStatic | Min | X | 0.00517 | 1/193 | 53 | 8.0264 | 0.3556 | 9.2964 |
| Story3 | EQx ULS | LinStatic | Min | Y | 0.000962 | 1/1040 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | EQy ULS | LinStatic | Max | Y | 0.00527 | 1/190 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | EQy ULS | LinStatic | Min | Y | 0.00493 | 1/203 | 65 | 4.5212 | 15.7988 | 9.2964 |
| Story3 | ~ChineseX | LinStatic |  | X | 0.000436 | 1/2292 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | ~ChineseY | LinStatic |  | Y | 0.000331 | 1/3026 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | 1.2DL+1.5LL | Combination |  | X | 0.000533 | 1/1877 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | 1.2DL+1.5LL | Combination |  | Y | 0.000303 | 1/3301 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story3 | DL +YLL+EQxULS | Combination | Max | X | 0.006758 | 1/148 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | DL +YLL+EQxULS | Combination | Min | X | 0.005073 | 1/197 | 60 | 1.2192 | 8.8138 | 9.2964 |
| Story3 | DL +YLL+EQxULS | Combination | Min | Y | 0.000897 | 1/1115 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | DL +YLL-EQxULS | Combination | Max | X | 0.0055 | 1/182 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | DL +YLL-EQxULS | Combination | Min | X | 0.007426 | 1/135 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | DL +YLL+EQyULS | Combination | Max | Y | 0.005335 | 1/187 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | DL +YLL+EQyULS | Combination | Min | X | 0.000926 | 1/1080 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | DL +YLL+EQyULS | Combination | Min | Y | 0.004859 | 1/206 | 65 | 4.5212 | 15.7988 | 9.2964 |
| Story3 | DL +YLL-EQyULS | Combination | Max | Y | 0.005 | 1/200 | 65 | 4.5212 | 15.7988 | 9.2964 |
| Story3 | DL +YLL-EQyULS | Combination | Min | Y | 0.005222 | 1/192 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story3 | 0.9DL +EQxULS | Combination | Max | X | 0.006823 | 1/147 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | 0.9DL +EQxULS | Combination | Min | X | 0.005088 | 1/197 | 60 | 1.2192 | 8.8138 | 9.2964 |
| Story3 | 0.9DL +EQxULS | Combination | Min | Y | 0.000903 | 1/1108 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | 0.9DL -EQxULS | Combination | Max | X | 0.005435 | 1/184 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | 0.9DL -EQxULS | Combination | Min | X | 0.007361 | 1/136 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | 0.9DL +EQyULS | Combination | Max | Y | 0.005329 | 1/188 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | 0.9DL +EQyULS | Combination | Min | Y | 0.004879 | 1/205 | 65 | 4.5212 | 15.7988 | 9.2964 |
| Story3 | 0.9DL -EQyULS | Combination | Max | Y | 0.00498 | 1/201 | 65 | 4.5212 | 15.7988 | 9.2964 |
| Story3 | 0.9DL -EQyULS | Combination | Min | Y | 0.005211 | 1/192 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | envelope | Combination | Max | X | 0.006823 | 1/147 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | envelope | Combination | Max | Y | 0.005335 | 1/187 | 78 | -0.1778 | 16.891 | 9.2964 |
| Story3 | envelope | Combination | Min | X | 0.007426 | 1/135 | 72 | 3.2766 | -0.127 | 9.2964 |
| Story3 | envelope | Combination | Min | Y | 0.005222 | 1/192 | 55 | 8.0264 | 4.5212 | 9.2964 |
| Story2 | Dead | LinStatic |  | X | 0.000168 | 1/5946 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | Dead | LinStatic |  | Y | 0.000102 | 1/9762 | 64 | 8.0264 | 15.7988 | 6.4008 |
| Story2 | Live | LinStatic |  | X | 2.5E-05 | 1/40292 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | Live | LinStatic |  | Y | 2E-05 | 1/50966 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | 9" wall | LinStatic |  | Y | 2E-05 | 1/50179 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | partition wall | LinStatic |  | X | 1.4E-05 | 1/74060 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | partition wall | LinStatic |  | Y | 2.1E-05 | 1/47159 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | FF | LinStatic |  | X | 6.5E-05 | 1/15328 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | FF | LinStatic |  | Y | 3.9E-05 | 1/25400 | 64 | 8.0264 | 15.7988 | 6.4008 |
| Story2 | staircase steps | LinStatic |  | X | 5.2E-05 | 1/19344 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | staircase steps | LinStatic |  | Y | 5.5E-05 | 1/18296 | 64 | 8.0264 | 15.7988 | 6.4008 |
| Story2 | stair live | LinStatic |  | X | 9.5E-05 | 1/10562 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | stair live | LinStatic |  | Y | 0.0001 | 1/9990 | 64 | 8.0264 | 15.7988 | 6.4008 |
| Story2 | water tank | LinStatic |  | X | 1E-06 | 1/0 | 53 | 8.0264 | 0.3556 | 6.4008 |
| Story2 | water tank | LinStatic |  | Y | 3.746E-07 | 1/0 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | EQx SLS | LinStatic | Max | X | 0.008191 | 1/122 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | EQx SLS | LinStatic | Min | X | 0.006106 | 1/164 | 60 | 1.2192 | 8.8138 | 6.4008 |
| Story2 | EQy SLS | LinStatic | Max | Y | 0.006308 | 1/159 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | EQy SLS | LinStatic | Min | Y | 0.0059 | 1/169 | 65 | 4.5212 | 15.7988 | 6.4008 |
| Story2 | EQx ULS | LinStatic | Max | X | 0.008535 | 1/117 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | EQx ULS | LinStatic | Min | X | 0.006363 | 1/157 | 60 | 1.2192 | 8.8138 | 6.4008 |
| Story2 | EQy ULS | LinStatic | Max | Y | 0.006574 | 1/152 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | EQy ULS | LinStatic | Min | Y | 0.006149 | 1/163 | 65 | 4.5212 | 15.7988 | 6.4008 |
| Story2 | ~ChineseX | LinStatic |  | X | 0.000499 | 1/2004 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | ~ChineseY | LinStatic |  | Y | 0.000395 | 1/2530 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | 1.2DL+1.5LL | Combination |  | X | 0.000547 | 1/1828 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | 1.2DL+1.5LL | Combination |  | Y | 0.000357 | 1/2804 | 64 | 8.0264 | 15.7988 | 6.4008 |
| Story2 | DL +YLL+EQxULS | Combination | Max | X | 0.008193 | 1/122 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | DL +YLL+EQxULS | Combination | Min | X | 0.006277 | 1/159 | 60 | 1.2192 | 8.8138 | 6.4008 |
| Story2 | DL +YLL-EQxULS | Combination | Max | X | 0.006467 | 1/155 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | DL +YLL-EQxULS | Combination | Min | X | 0.008878 | 1/113 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | DL +YLL+EQyULS | Combination | Max | Y | 0.006601 | 1/151 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | DL +YLL+EQyULS | Combination | Min | X | 0.001124 | 1/890 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | DL +YLL+EQyULS | Combination | Min | Y | 0.006046 | 1/165 | 65 | 4.5212 | 15.7988 | 6.4008 |
| Story2 | DL +YLL-EQyULS | Combination | Max | Y | 0.006251 | 1/160 | 65 | 4.5212 | 15.7988 | 6.4008 |
| Story2 | DL +YLL-EQyULS | Combination | Min | Y | 0.006547 | 1/153 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | 0.9DL +EQxULS | Combination | Max | X | 0.008259 | 1/121 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | 0.9DL +EQxULS | Combination | Min | X | 0.006294 | 1/159 | 60 | 1.2192 | 8.8138 | 6.4008 |
| Story2 | 0.9DL -EQxULS | Combination | Max | X | 0.006432 | 1/155 | 60 | 1.2192 | 8.8138 | 6.4008 |
| Story2 | 0.9DL -EQxULS | Combination | Min | X | 0.008811 | 1/113 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | 0.9DL +EQyULS | Combination | Max | Y | 0.006603 | 1/151 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | 0.9DL +EQyULS | Combination | Min | Y | 0.006073 | 1/165 | 65 | 4.5212 | 15.7988 | 6.4008 |
| Story2 | 0.9DL -EQyULS | Combination | Max | Y | 0.006224 | 1/161 | 65 | 4.5212 | 15.7988 | 6.4008 |
| Story2 | 0.9DL -EQyULS | Combination | Min | Y | 0.006545 | 1/153 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | envelope | Combination | Max | X | 0.008259 | 1/121 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | envelope | Combination | Max | Y | 0.006603 | 1/151 | 66 | 0 | 15.7988 | 6.4008 |
| Story2 | envelope | Combination | Min | X | 0.008878 | 1/113 | 72 | 3.2766 | -0.127 | 6.4008 |
| Story2 | envelope | Combination | Min | Y | 0.006547 | 1/153 | 66 | 0 | 15.7988 | 6.4008 |
| Story1 | Dead | LinStatic |  | X | 3.1E-05 | 1/32577 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | Dead | LinStatic |  | Y | 4.5E-05 | 1/22077 | 53 | 8.0264 | 0.3556 | 3.2004 |
| Story1 | Live | LinStatic |  | X | 1.5E-05 | 1/65502 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | Live | LinStatic |  | Y | 7E-06 | 1/145655 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | 9" wall | LinStatic |  | X | 1.4E-05 | 1/69792 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | 9" wall | LinStatic |  | Y | 1.5E-05 | 1/66865 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | partition wall | LinStatic |  | X | 7E-06 | 1/140806 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | partition wall | LinStatic |  | Y | 3E-06 | 1/323570 | 4 | 8.0264 | 3.2512 | 3.2004 |
| Story1 | FF | LinStatic |  | X | 1.1E-05 | 1/89849 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | FF | LinStatic |  | Y | 1.7E-05 | 1/57689 | 53 | 8.0264 | 0.3556 | 3.2004 |
| Story1 | staircase steps | LinStatic |  | X | 6E-06 | 1/165840 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | staircase steps | LinStatic |  | Y | 2.5E-05 | 1/39691 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | stair live | LinStatic |  | X | 1.1E-05 | 1/90548 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | stair live | LinStatic |  | Y | 4.6E-05 | 1/21671 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | water tank | LinStatic |  | X | 1.717E-07 | 1/0 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | water tank | LinStatic |  | Y | 1.039E-07 | 1/0 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | EQx SLS | LinStatic | Max | X | 0.005029 | 1/199 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | EQx SLS | LinStatic | Min | X | 0.004009 | 1/249 | 60 | 1.2192 | 8.8138 | 3.2004 |
| Story1 | EQy SLS | LinStatic | Max | Y | 0.004248 | 1/235 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | EQy SLS | LinStatic | Min | Y | 0.003996 | 1/250 | 65 | 4.5212 | 15.7988 | 3.2004 |
| Story1 | EQx ULS | LinStatic | Max | X | 0.005241 | 1/191 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | EQx ULS | LinStatic | Min | X | 0.004178 | 1/239 | 60 | 1.2192 | 8.8138 | 3.2004 |
| Story1 | EQy ULS | LinStatic | Max | Y | 0.004426 | 1/226 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | EQy ULS | LinStatic | Min | Y | 0.004164 | 1/240 | 65 | 4.5212 | 15.7988 | 3.2004 |
| Story1 | ~ChineseX | LinStatic |  | X | 0.000301 | 1/3326 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | ~ChineseY | LinStatic |  | Y | 0.000263 | 1/3800 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | 1.2DL+1.5LL | Combination |  | Y | 0.000174 | 1/5748 | 53 | 8.0264 | 0.3556 | 3.2004 |
| Story1 | DL +YLL+EQxULS | Combination | Max | X | 0.005182 | 1/193 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | DL +YLL+EQxULS | Combination | Min | X | 0.004173 | 1/240 | 60 | 1.2192 | 8.8138 | 3.2004 |
| Story1 | DL +YLL-EQxULS | Combination | Max | X | 0.004183 | 1/239 | 60 | 1.2192 | 8.8138 | 3.2004 |
| Story1 | DL +YLL-EQxULS | Combination | Min | X | 0.005299 | 1/189 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | DL +YLL+EQyULS | Combination | Max | Y | 0.004377 | 1/228 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | DL +YLL+EQyULS | Combination | Min | Y | 0.004087 | 1/245 | 65 | 4.5212 | 15.7988 | 3.2004 |
| Story1 | DL +YLL-EQyULS | Combination | Max | Y | 0.004241 | 1/236 | 65 | 4.5212 | 15.7988 | 3.2004 |
| Story1 | DL +YLL-EQyULS | Combination | Min | Y | 0.004476 | 1/223 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | 0.9DL +EQxULS | Combination | Max | X | 0.005189 | 1/193 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | 0.9DL +EQxULS | Combination | Min | X | 0.004172 | 1/240 | 60 | 1.2192 | 8.8138 | 3.2004 |
| Story1 | 0.9DL -EQxULS | Combination | Max | X | 0.004184 | 1/239 | 60 | 1.2192 | 8.8138 | 3.2004 |
| Story1 | 0.9DL -EQxULS | Combination | Min | X | 0.005292 | 1/189 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | 0.9DL +EQyULS | Combination | Max | Y | 0.004393 | 1/228 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | 0.9DL +EQyULS | Combination | Min | Y | 0.004106 | 1/244 | 65 | 4.5212 | 15.7988 | 3.2004 |
| Story1 | 0.9DL -EQyULS | Combination | Max | Y | 0.004221 | 1/237 | 65 | 4.5212 | 15.7988 | 3.2004 |
| Story1 | 0.9DL -EQyULS | Combination | Min | Y | 0.00446 | 1/224 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | envelope | Combination | Max | X | 0.005189 | 1/193 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | envelope | Combination | Max | Y | 0.004393 | 1/228 | 66 | 0 | 15.7988 | 3.2004 |
| Story1 | envelope | Combination | Min | X | 0.005299 | 1/189 | 54 | 4.5212 | 0 | 3.2004 |
| Story1 | envelope | Combination | Min | Y | 0.004476 | 1/223 | 66 | 0 | 15.7988 | 3.2004 |

Table 4.6 - Story Forces

| Story | Output Case | Case Type | Step Type | Location | P kN | VX kN | VY kN | T kN-m | MX kN-m | MY kN-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story5 | Dead | LinStatic |  | Bottom | 419.5273 | 0 | 0 | 0 | 2949.769 | -1939.9016 |
| Story5 | Live | LinStatic |  | Bottom | 92.1993 | 0 | 0 | 0 | 655.5462 | -411.2156 |
| Story5 | 9" wall | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| Story5 | partition wall | LinStatic |  | Bottom | 81.4565 | 0 | 0 | 0 | 529.3447 | -421.925 |
| Story5 | FF | LinStatic |  | Bottom | 83.5942 | 0 | 0 | 0 | 589.0174 | -369.6514 |
| Story5 | staircase steps | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| Story5 | stair live | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| Story5 | water tank | LinStatic |  | Bottom | 20.005 | 0 | 0 | 0 | 46.9774 | -125.0288 |
| Story5 | EQx SLS | LinStatic | Max | Bottom | 0 | -136.8031 | 0 | 1028.6067 | 0 | -396.127 |
| Story5 | EQx SLS | LinStatic | Min | Bottom | 0 | -136.8031 | 0 | 849.3072 | 0 | -396.127 |
| Story5 | EQy SLS | LinStatic | Max | Bottom | 0 | 0 | -136.8031 | -589.7421 | 396.127 | 0 |
| Story5 | EQy SLS | LinStatic | Min | Bottom | 0 | 0 | -136.8031 | -690.8588 | 396.127 | 0 |
| Story5 | EQx ULS | LinStatic | Max | Bottom | 0 | -142.5575 | 0 | 1071.8735 | 0 | -412.7895 |
| Story5 | EQx ULS | LinStatic | Min | Bottom | 0 | -142.5575 | 0 | 885.032 | 0 | -412.7895 |
| Story5 | EQy ULS | LinStatic | Max | Bottom | 0 | 0 | -142.5575 | -614.5487 | 412.7895 | 0 |
| Story5 | EQy ULS | LinStatic | Min | Bottom | 0 | 0 | -142.5575 | -719.9187 | 412.7895 | 0 |
| Story5 | ~ChineseX | LinStatic |  | Bottom | 0 | -15.0876 | 0 | 103.5547 | 0 | -43.6877 |
| Story5 | ~ChineseY | LinStatic |  | Bottom | 0 | 0 | -15.0876 | -70.6168 | 43.6877 | 0 |
| Story5 | 1.2DL+1.5LL | Combination |  | Bottom | 869.7999 | 0 | 0 | 0 | 5935.5427 | -4082.1401 |
| Story5 | DL +YLL+EQxULS | Combination | Max | Bottom | 624.2407 | -142.5575 | 0 | 1071.8735 | 4292.9814 | -3342.6493 |
| Story5 | DL +YLL+EQxULS | Combination | Min | Bottom | 624.2407 | -142.5575 | 0 | 885.032 | 4292.9814 | -3342.6493 |
| Story5 | DL +YLL-EQxULS | Combination | Max | Bottom | 624.2407 | 142.5575 | 0 | -885.032 | 4292.9814 | -2517.0704 |
| Story5 | DL +YLL-EQxULS | Combination | Min | Bottom | 624.2407 | 142.5575 | 0 | -1071.8735 | 4292.9814 | -2517.0704 |
| Story5 | DL +YLL+EQyULS | Combination | Max | Bottom | 624.2407 | 0 | -142.5575 | -614.5487 | 4705.7709 | -2929.8599 |
| Story5 | DL +YLL+EQyULS | Combination | Min | Bottom | 624.2407 | 0 | -142.5575 | -719.9187 | 4705.7709 | -2929.8599 |
| Story5 | DL +YLL-EQyULS | Combination | Max | Bottom | 624.2407 | 0 | 142.5575 | 719.9187 | 3880.1919 | -2929.8599 |
| Story5 | DL +YLL-EQyULS | Combination | Min | Bottom | 624.2407 | 0 | 142.5575 | 614.5487 | 3880.1919 | -2929.8599 |
| Story5 | 0.9DL +EQxULS | Combination | Max | Bottom | 544.1246 | -142.5575 | 0 | 1071.8735 | 3703.5977 | -2983.6455 |
| Story5 | 0.9DL +EQxULS | Combination | Min | Bottom | 544.1246 | -142.5575 | 0 | 885.032 | 3703.5977 | -2983.6455 |
| Story5 | 0.9DL -EQxULS | Combination | Max | Bottom | 544.1246 | 142.5575 | 0 | -885.032 | 3703.5977 | -2158.0666 |
| Story5 | 0.9DL -EQxULS | Combination | Min | Bottom | 544.1246 | 142.5575 | 0 | -1071.8735 | 3703.5977 | -2158.0666 |
| Story5 | 0.9DL +EQyULS | Combination | Max | Bottom | 544.1246 | 0 | -142.5575 | -614.5487 | 4116.3871 | -2570.8561 |
| Story5 | 0.9DL +EQyULS | Combination | Min | Bottom | 544.1246 | 0 | -142.5575 | -719.9187 | 4116.3871 | -2570.8561 |
| Story5 | 0.9DL -EQyULS | Combination | Max | Bottom | 544.1246 | 0 | 142.5575 | 719.9187 | 3290.8082 | -2570.8561 |
| Story5 | 0.9DL -EQyULS | Combination | Min | Bottom | 544.1246 | 0 | 142.5575 | 614.5487 | 3290.8082 | -2570.8561 |
| Story5 | envelope | Combination | Max | Bottom | 869.7999 | 142.5575 | 142.5575 | 1071.8735 | 5935.5427 | -2158.0666 |
| Story5 | envelope | Combination | Min | Bottom | 544.1246 | -142.5575 | -142.5575 | -1071.8735 | 3290.8082 | -4082.1401 |
| Story4 | Dead | LinStatic |  | Bottom | 989.49 | 0 | 0 | 0 | 8547.6359 | -4431.0191 |
| Story4 | Live | LinStatic |  | Bottom | 241.7508 | 0 | 0 | 0 | 2250.3046 | -992.9442 |
| Story4 | 9" wall | LinStatic |  | Bottom | 305.6233 | 0 | 0 | 0 | 1697.3663 | -1613.2015 |
| Story4 | partition wall | LinStatic |  | Bottom | 208.2676 | 0 | 0 | 0 | 1847.3305 | -947.1123 |
| Story4 | FF | LinStatic |  | Bottom | 199.1493 | 0 | 0 | 0 | 1800.2463 | -843.0347 |
| Story4 | staircase steps | LinStatic |  | Bottom | 10.2841 | 0 | 0 | 0 | 19.1269 | -64.5434 |
| Story4 | stair live | LinStatic |  | Bottom | 18.8354 | 0 | 0 | 0 | 35.031 | -118.2114 |
| Story4 | water tank | LinStatic |  | Bottom | 20.005 | 0 | 0 | 0 | 46.9774 | -125.0288 |
| Story4 | EQx SLS | LinStatic | Max | Bottom | 0 | -351.97 | 0 | 3088.3315 | 0 | -1415.2913 |
| Story4 | EQx SLS | LinStatic | Min | Bottom | 0 | -351.97 | 0 | 2580.3432 | 0 | -1415.2913 |
| Story4 | EQy SLS | LinStatic | Max | Bottom | 0 | 0 | -351.97 | -1483.8705 | 1415.2913 | 0 |
| Story4 | EQy SLS | LinStatic | Min | Bottom | 0 | 0 | -351.97 | -1741.894 | 1415.2913 | 0 |
| Story4 | EQx ULS | LinStatic | Max | Bottom | 0 | -366.7751 | 0 | 3218.2375 | 0 | -1474.8234 |
| Story4 | EQx ULS | LinStatic | Min | Bottom | 0 | -366.7751 | 0 | 2688.8815 | 0 | -1474.8234 |
| Story4 | EQy ULS | LinStatic | Max | Bottom | 0 | 0 | -366.7751 | -1546.2873 | 1474.8234 | 0 |
| Story4 | EQy ULS | LinStatic | Min | Bottom | 0 | 0 | -366.7751 | -1815.1641 | 1474.8234 | 0 |
| Story4 | ~ChineseX | LinStatic |  | Bottom | 0 | -27.2796 | 0 | 210.9527 | 0 | -122.6785 |
| Story4 | ~ChineseY | LinStatic |  | Bottom | 0 | 0 | -27.2796 | -125.7262 | 122.6785 | 0 |
| Story4 | 1.2DL+1.5LL | Combination |  | Bottom | 2476.2641 | 0 | 0 | 0 | 20192.5166 | -11332.9697 |
| Story4 | DL +YLL+EQxULS | Combination | Max | Bottom | 1802.9933 | -366.7751 | 0 | 3218.2375 | 14625.4931 | -9782.0983 |
| Story4 | DL +YLL+EQxULS | Combination | Min | Bottom | 1802.9933 | -366.7751 | 0 | 2688.8815 | 14625.4931 | -9782.0983 |
| Story4 | DL +YLL-EQxULS | Combination | Max | Bottom | 1802.9933 | 366.7751 | 0 | -2688.8815 | 14625.4931 | -6832.4515 |
| Story4 | DL +YLL-EQxULS | Combination | Min | Bottom | 1802.9933 | 366.7751 | 0 | -3218.2375 | 14625.4931 | -6832.4515 |
| Story4 | DL +YLL+EQyULS | Combination | Max | Bottom | 1802.9933 | 0 | -366.7751 | -1546.2873 | 16100.3164 | -8307.2749 |
| Story4 | DL +YLL+EQyULS | Combination | Min | Bottom | 1802.9933 | 0 | -366.7751 | -1815.1641 | 16100.3164 | -8307.2749 |
| Story4 | DL +YLL-EQyULS | Combination | Max | Bottom | 1802.9933 | 0 | 366.7751 | 1815.1641 | 13150.6697 | -8307.2749 |
| Story4 | DL +YLL-EQyULS | Combination | Min | Bottom | 1802.9933 | 0 | 366.7751 | 1546.2873 | 13150.6697 | -8307.2749 |
| Story4 | 0.9DL +EQxULS | Combination | Max | Bottom | 1559.5374 | -366.7751 | 0 | 3218.2375 | 12562.815 | -8696.3692 |
| Story4 | 0.9DL +EQxULS | Combination | Min | Bottom | 1559.5374 | -366.7751 | 0 | 2688.8815 | 12562.815 | -8696.3692 |
| Story4 | 0.9DL -EQxULS | Combination | Max | Bottom | 1559.5374 | 366.7751 | 0 | -2688.8815 | 12562.815 | -5746.7224 |
| Story4 | 0.9DL -EQxULS | Combination | Min | Bottom | 1559.5374 | 366.7751 | 0 | -3218.2375 | 12562.815 | -5746.7224 |
| Story4 | 0.9DL +EQyULS | Combination | Max | Bottom | 1559.5374 | 0 | -366.7751 | -1546.2873 | 14037.6384 | -7221.5458 |
| Story4 | 0.9DL +EQyULS | Combination | Min | Bottom | 1559.5374 | 0 | -366.7751 | -1815.1641 | 14037.6384 | -7221.5458 |
| Story4 | 0.9DL -EQyULS | Combination | Max | Bottom | 1559.5374 | 0 | 366.7751 | 1815.1641 | 11087.9916 | -7221.5458 |
| Story4 | 0.9DL -EQyULS | Combination | Min | Bottom | 1559.5374 | 0 | 366.7751 | 1546.2873 | 11087.9916 | -7221.5458 |
| Story4 | envelope | Combination | Max | Bottom | 2476.2641 | 366.7751 | 366.7751 | 3218.2375 | 20192.5166 | -5746.7224 |
| Story4 | envelope | Combination | Min | Bottom | 1559.5374 | -366.7751 | -366.7751 | -3218.2375 | 11087.9916 | -11332.9697 |
| Story3 | Dead | LinStatic |  | Bottom | 1537.8803 | 0 | 0 | 0 | 13783.4715 | -6823.9332 |
| Story3 | Live | LinStatic |  | Bottom | 410.3654 | 0 | 0 | 0 | 4124.9743 | -1648.7215 |
| Story3 | 9" wall | LinStatic |  | Bottom | 756.9148 | 0 | 0 | 0 | 5561.1062 | -3820.9042 |
| Story3 | partition wall | LinStatic |  | Bottom | 355.1884 | 0 | 0 | 0 | 3383.9192 | -1585.1469 |
| Story3 | FF | LinStatic |  | Bottom | 308.596 | 0 | 0 | 0 | 2908.7273 | -1290.66 |
| Story3 | staircase steps | LinStatic |  | Bottom | 20.5683 | 0 | 0 | 0 | 38.2539 | -129.0869 |
| Story3 | stair live | LinStatic |  | Bottom | 37.6708 | 0 | 0 | 0 | 70.062 | -236.4228 |
| Story3 | water tank | LinStatic |  | Bottom | 20.005 | 0 | 0 | 0 | 46.9774 | -125.0288 |
| Story3 | EQx SLS | LinStatic | Max | Bottom | 0 | -536.2341 | 0 | 4948.2522 | 0 | -2968.0108 |
| Story3 | EQx SLS | LinStatic | Min | Bottom | 0 | -536.2341 | 0 | 4160.191 | 0 | -2968.0108 |
| Story3 | EQy SLS | LinStatic | Max | Bottom | 0 | 0 | -536.2341 | -2248.7159 | 2968.0108 | 0 |
| Story3 | EQy SLS | LinStatic | Min | Bottom | 0 | 0 | -536.2341 | -2641.7596 | 2968.0108 | 0 |
| Story3 | EQx ULS | LinStatic | Max | Bottom | 0 | -558.79 | 0 | 5156.393 | 0 | -3092.8557 |
| Story3 | EQx ULS | LinStatic | Min | Bottom | 0 | -558.79 | 0 | 4335.1832 | 0 | -3092.8557 |
| Story3 | EQy ULS | LinStatic | Max | Bottom | 0 | 0 | -558.79 | -2343.3047 | 3092.8557 | 0 |
| Story3 | EQy ULS | LinStatic | Min | Bottom | 0 | 0 | -558.79 | -2752.8812 | 3092.8557 | 0 |
| Story3 | ~ChineseX | LinStatic |  | Bottom | 0 | -36.576 | 0 | 297.7234 | 0 | -228.5879 |
| Story3 | ~ChineseY | LinStatic |  | Bottom | 0 | 0 | -36.576 | -167.7198 | 228.5879 | 0 |
| Story3 | 1.2DL+1.5LL | Combination |  | Bottom | 4277.0389 | 0 | 0 | 0 | 37173.5941 | -19394.937 |
| Story3 | DL +YLL+EQxULS | Combination | Max | Bottom | 3125.5615 | -558.79 | 0 | 5156.393 | 26962.1753 | -17383.1473 |
| Story3 | DL +YLL+EQxULS | Combination | Min | Bottom | 3125.5615 | -558.79 | 0 | 4335.1832 | 26962.1753 | -17383.1473 |
| Story3 | DL +YLL-EQxULS | Combination | Max | Bottom | 3125.5615 | 558.79 | 0 | -4335.1832 | 26962.1753 | -11197.436 |
| Story3 | DL +YLL-EQxULS | Combination | Min | Bottom | 3125.5615 | 558.79 | 0 | -5156.393 | 26962.1753 | -11197.436 |
| Story3 | DL +YLL+EQyULS | Combination | Max | Bottom | 3125.5615 | 0 | -558.79 | -2343.3047 | 30055.031 | -14290.2917 |
| Story3 | DL +YLL+EQyULS | Combination | Min | Bottom | 3125.5615 | 0 | -558.79 | -2752.8812 | 30055.031 | -14290.2917 |
| Story3 | DL +YLL-EQyULS | Combination | Max | Bottom | 3125.5615 | 0 | 558.79 | 2752.8812 | 23869.3196 | -14290.2917 |
| Story3 | DL +YLL-EQyULS | Combination | Min | Bottom | 3125.5615 | 0 | 558.79 | 2343.3047 | 23869.3196 | -14290.2917 |
| Story3 | 0.9DL +EQxULS | Combination | Max | Bottom | 2699.2373 | -558.79 | 0 | 5156.393 | 23150.2099 | -15490.1396 |
| Story3 | 0.9DL +EQxULS | Combination | Min | Bottom | 2699.2373 | -558.79 | 0 | 4335.1832 | 23150.2099 | -15490.1396 |
| Story3 | 0.9DL -EQxULS | Combination | Max | Bottom | 2699.2373 | 558.79 | 0 | -4335.1832 | 23150.2099 | -9304.4282 |
| Story3 | 0.9DL -EQxULS | Combination | Min | Bottom | 2699.2373 | 558.79 | 0 | -5156.393 | 23150.2099 | -9304.4282 |
| Story3 | 0.9DL +EQyULS | Combination | Max | Bottom | 2699.2373 | 0 | -558.79 | -2343.3047 | 26243.0655 | -12397.2839 |
| Story3 | 0.9DL +EQyULS | Combination | Min | Bottom | 2699.2373 | 0 | -558.79 | -2752.8812 | 26243.0655 | -12397.2839 |
| Story3 | 0.9DL -EQyULS | Combination | Max | Bottom | 2699.2373 | 0 | 558.79 | 2752.8812 | 20057.3542 | -12397.2839 |
| Story3 | 0.9DL -EQyULS | Combination | Min | Bottom | 2699.2373 | 0 | 558.79 | 2343.3047 | 20057.3542 | -12397.2839 |
| Story3 | envelope | Combination | Max | Bottom | 4277.0389 | 558.79 | 558.79 | 5156.393 | 37173.5941 | -9304.4282 |
| Story3 | envelope | Combination | Min | Bottom | 2699.2373 | -558.79 | -558.79 | -5156.393 | 20057.3542 | -19394.937 |
| Story2 | Dead | LinStatic |  | Bottom | 2102.0792 | 0 | 0 | 0 | 19147.0585 | -9294.6873 |
| Story2 | Live | LinStatic |  | Bottom | 578.98 | 0 | 0 | 0 | 5999.6439 | -2304.4988 |
| Story2 | 9" wall | LinStatic |  | Bottom | 1208.2062 | 0 | 0 | 0 | 9424.8461 | -6028.607 |
| Story2 | partition wall | LinStatic |  | Bottom | 502.1091 | 0 | 0 | 0 | 4920.5079 | -2223.1815 |
| Story2 | FF | LinStatic |  | Bottom | 418.9575 | 0 | 0 | 0 | 4020.1793 | -1743.9742 |
| Story2 | staircase steps | LinStatic |  | Bottom | 32.0511 | 0 | 0 | 0 | 61.274 | -201.085 |
| Story2 | stair live | LinStatic |  | Bottom | 58.7017 | 0 | 0 | 0 | 112.2235 | -368.2876 |
| Story2 | water tank | LinStatic |  | Bottom | 20.005 | 0 | 0 | 0 | 46.9774 | -125.0288 |
| Story2 | EQx SLS | LinStatic | Max | Bottom | 0 | -658.8874 | 0 | 6184.7334 | 0 | -5076.7141 |
| Story2 | EQx SLS | LinStatic | Min | Bottom | 0 | -658.8874 | 0 | 5210.2909 | 0 | -5076.7141 |
| Story2 | EQy SLS | LinStatic | Max | Bottom | 0 | 0 | -658.8874 | -2758.1956 | 5076.7141 | 0 |
| Story2 | EQy SLS | LinStatic | Min | Bottom | 0 | 0 | -658.8874 | -3241.0918 | 5076.7141 | 0 |
| Story2 | EQx ULS | LinStatic | Max | Bottom | 0 | -686.6025 | 0 | 6444.8849 | 0 | -5290.2584 |
| Story2 | EQx ULS | LinStatic | Min | Bottom | 0 | -686.6025 | 0 | 5429.4539 | 0 | -5290.2584 |
| Story2 | EQy ULS | LinStatic | Max | Bottom | 0 | 0 | -686.6025 | -2874.215 | 5290.2584 | 0 |
| Story2 | EQy ULS | LinStatic | Min | Bottom | 0 | 0 | -686.6025 | -3377.4235 | 5290.2584 | 0 |
| Story2 | ~ChineseX | LinStatic |  | Bottom | 0 | -42.9768 | 0 | 357.3873 | 0 | -366.1309 |
| Story2 | ~ChineseY | LinStatic |  | Bottom | 0 | 0 | -42.9768 | -196.6521 | 366.1309 | 0 |
| Story2 | 1.2DL+1.5LL | Combination |  | Bottom | 6102.6138 | 0 | 0 | 0 | 54326.9062 | -27586.5648 |
| Story2 | DL +YLL+EQxULS | Combination | Max | Bottom | 4466.7106 | -686.6025 | 0 | 6444.8849 | 39435.6124 | -25658.6466 |
| Story2 | DL +YLL+EQxULS | Combination | Min | Bottom | 4466.7106 | -686.6025 | 0 | 5429.4539 | 39435.6124 | -25658.6466 |
| Story2 | DL +YLL-EQxULS | Combination | Max | Bottom | 4466.7106 | 686.6025 | 0 | -5429.4539 | 39435.6124 | -15078.1297 |
| Story2 | DL +YLL-EQxULS | Combination | Min | Bottom | 4466.7106 | 686.6025 | 0 | -6444.8849 | 39435.6124 | -15078.1297 |
| Story2 | DL +YLL+EQyULS | Combination | Max | Bottom | 4466.7106 | 0 | -686.6025 | -2874.215 | 44725.8709 | -20368.3882 |
| Story2 | DL +YLL+EQyULS | Combination | Min | Bottom | 4466.7106 | 0 | -686.6025 | -3377.4235 | 44725.8709 | -20368.3882 |
| Story2 | DL +YLL-EQyULS | Combination | Max | Bottom | 4466.7106 | 0 | 686.6025 | 3377.4235 | 34145.354 | -20368.3882 |
| Story2 | DL +YLL-EQyULS | Combination | Min | Bottom | 4466.7106 | 0 | 686.6025 | 2874.215 | 34145.354 | -20368.3882 |
| Story2 | 0.9DL +EQxULS | Combination | Max | Bottom | 3855.0673 | -686.6025 | 0 | 6444.8849 | 33858.7589 | -22945.1658 |
| Story2 | 0.9DL +EQxULS | Combination | Min | Bottom | 3855.0673 | -686.6025 | 0 | 5429.4539 | 33858.7589 | -22945.1658 |
| Story2 | 0.9DL -EQxULS | Combination | Max | Bottom | 3855.0673 | 686.6025 | 0 | -5429.4539 | 33858.7589 | -12364.649 |
| Story2 | 0.9DL -EQxULS | Combination | Min | Bottom | 3855.0673 | 686.6025 | 0 | -6444.8849 | 33858.7589 | -12364.649 |
| Story2 | 0.9DL +EQyULS | Combination | Max | Bottom | 3855.0673 | 0 | -686.6025 | -2874.215 | 39149.0173 | -17654.9074 |
| Story2 | 0.9DL +EQyULS | Combination | Min | Bottom | 3855.0673 | 0 | -686.6025 | -3377.4235 | 39149.0173 | -17654.9074 |
| Story2 | 0.9DL -EQyULS | Combination | Max | Bottom | 3855.0673 | 0 | 686.6025 | 3377.4235 | 28568.5004 | -17654.9074 |
| Story2 | 0.9DL -EQyULS | Combination | Min | Bottom | 3855.0673 | 0 | 686.6025 | 2874.215 | 28568.5004 | -17654.9074 |
| Story2 | envelope | Combination | Max | Bottom | 6102.6138 | 686.6025 | 686.6025 | 6444.8849 | 54326.9062 | -12364.649 |
| Story2 | envelope | Combination | Min | Bottom | 3855.0673 | -686.6025 | -686.6025 | -6444.8849 | 28568.5004 | -27586.5648 |
| Story1 | Dead | LinStatic |  | Bottom | 2673.8758 | 0 | 0 | 0 | 24637.1494 | -11807.6928 |
| Story1 | Live | LinStatic |  | Bottom | 733.7629 | 0 | 0 | 0 | 7648.7846 | -2909.8504 |
| Story1 | 9" wall | LinStatic |  | Bottom | 1746.52 | 0 | 0 | 0 | 13900.2999 | -8707.4748 |
| Story1 | partition wall | LinStatic |  | Bottom | 511.2932 | 0 | 0 | 0 | 4952.1651 | -2245.391 |
| Story1 | FF | LinStatic |  | Bottom | 533.0544 | 0 | 0 | 0 | 5193.6672 | -2213.8524 |
| Story1 | staircase steps | LinStatic |  | Bottom | 43.534 | 0 | 0 | 0 | 84.2942 | -273.0832 |
| Story1 | stair live | LinStatic |  | Bottom | 79.7326 | 0 | 0 | 0 | 154.385 | -500.1524 |
| Story1 | water tank | LinStatic |  | Bottom | 20.005 | 0 | 0 | 0 | 46.9774 | -125.0288 |
| Story1 | EQx SLS | LinStatic | Max | Bottom | 0 | -714.2964 | 0 | 6725.1862 | 0 | -7362.7483 |
| Story1 | EQx SLS | LinStatic | Min | Bottom | 0 | -714.2964 | 0 | 5668.1594 | 0 | -7362.7483 |
| Story1 | EQy SLS | LinStatic | Max | Bottom | 0 | 0 | -714.2964 | -2993.5596 | 7362.7483 | 0 |
| Story1 | EQy SLS | LinStatic | Min | Bottom | 0 | 0 | -714.2964 | -3516.1598 | 7362.7483 | 0 |
| Story1 | EQx ULS | LinStatic | Max | Bottom | 0 | -744.3422 | 0 | 7008.071 | 0 | -7672.4512 |
| Story1 | EQx ULS | LinStatic | Min | Bottom | 0 | -744.3422 | 0 | 5906.582 | 0 | -7672.4512 |
| Story1 | EQy ULS | LinStatic | Max | Bottom | 0 | 0 | -744.3422 | -3119.4791 | 7672.4512 | 0 |
| Story1 | EQy ULS | LinStatic | Min | Bottom | 0 | 0 | -744.3422 | -3664.0617 | 7672.4512 | 0 |
| Story1 | ~ChineseX | LinStatic |  | Bottom | 0 | -46.1772 | 0 | 386.2186 | 0 | -513.9164 |
| Story1 | ~ChineseY | LinStatic |  | Bottom | 0 | 0 | -46.1772 | -211.3932 | 513.9164 | 0 |
| Story1 | 1.2DL+1.5LL | Combination |  | Bottom | 7860.1837 | 0 | 0 | 0 | 70296.3113 | -35599.5406 |
| Story1 | DL +YLL+EQxULS | Combination | Max | Bottom | 5764.3291 | -744.3422 | 0 | 7008.071 | 51136.7131 | -34017.9635 |
| Story1 | DL +YLL+EQxULS | Combination | Min | Bottom | 5764.3291 | -744.3422 | 0 | 5906.582 | 51136.7131 | -34017.9635 |
| Story1 | DL +YLL-EQxULS | Combination | Max | Bottom | 5764.3291 | 744.3422 | 0 | -5906.582 | 51136.7131 | -18673.0612 |
| Story1 | DL +YLL-EQxULS | Combination | Min | Bottom | 5764.3291 | 744.3422 | 0 | -7008.071 | 51136.7131 | -18673.0612 |
| Story1 | DL +YLL+EQyULS | Combination | Max | Bottom | 5764.3291 | 0 | -744.3422 | -3119.4791 | 58809.1642 | -26345.5124 |
| Story1 | DL +YLL+EQyULS | Combination | Min | Bottom | 5764.3291 | 0 | -744.3422 | -3664.0617 | 58809.1642 | -26345.5124 |
| Story1 | DL +YLL-EQyULS | Combination | Max | Bottom | 5764.3291 | 0 | 744.3422 | 3664.0617 | 43464.2619 | -26345.5124 |
| Story1 | DL +YLL-EQyULS | Combination | Min | Bottom | 5764.3291 | 0 | 744.3422 | 3119.4791 | 43464.2619 | -26345.5124 |
| Story1 | 0.9DL +EQxULS | Combination | Max | Bottom | 4975.4542 | -744.3422 | 0 | 7008.071 | 43933.0979 | -30507.7219 |
| Story1 | 0.9DL +EQxULS | Combination | Min | Bottom | 4975.4542 | -744.3422 | 0 | 5906.582 | 43933.0979 | -30507.7219 |
| Story1 | 0.9DL -EQxULS | Combination | Max | Bottom | 4975.4542 | 744.3422 | 0 | -5906.582 | 43933.0979 | -15162.8195 |
| Story1 | 0.9DL -EQxULS | Combination | Min | Bottom | 4975.4542 | 744.3422 | 0 | -7008.071 | 43933.0979 | -15162.8195 |
| Story1 | 0.9DL +EQyULS | Combination | Max | Bottom | 4975.4542 | 0 | -744.3422 | -3119.4791 | 51605.549 | -22835.2707 |
| Story1 | 0.9DL +EQyULS | Combination | Min | Bottom | 4975.4542 | 0 | -744.3422 | -3664.0617 | 51605.549 | -22835.2707 |
| Story1 | 0.9DL -EQyULS | Combination | Max | Bottom | 4975.4542 | 0 | 744.3422 | 3664.0617 | 36260.6467 | -22835.2707 |
| Story1 | 0.9DL -EQyULS | Combination | Min | Bottom | 4975.4542 | 0 | 744.3422 | 3119.4791 | 36260.6467 | -22835.2707 |
| Story1 | envelope | Combination | Max | Bottom | 7860.1837 | 744.3422 | 744.3422 | 7008.071 | 70296.3113 | -15162.8195 |
| Story1 | envelope | Combination | Min | Bottom | 4975.4542 | -744.3422 | -744.3422 | -7008.071 | 36260.6467 | -35599.5406 |

## 4.3 Modal Results

Table 4.7 - Modal Periods And Frequencies

| Case | Mode | Period sec | Frequency cyc/sec | CircFreq rad/sec | Eigenvalue rad2/sec2 |
| --- | --- | --- | --- | --- | --- |
| Modal | 1 | 1.131 | 0.884 | 5.5573 | 30.8831 |
| Modal | 2 | 1.095 | 0.913 | 5.7393 | 32.9396 |
| Modal | 3 | 1.01 | 0.99 | 6.2231 | 38.7275 |
| Modal | 4 | 0.344 | 2.906 | 18.2572 | 333.3245 |
| Modal | 5 | 0.34 | 2.945 | 18.5027 | 342.3517 |
| Modal | 6 | 0.31 | 3.221 | 20.2391 | 409.6213 |
| Modal | 7 | 0.194 | 5.161 | 32.4263 | 1051.4655 |
| Modal | 8 | 0.191 | 5.223 | 32.8168 | 1076.9416 |
| Modal | 9 | 0.183 | 5.472 | 34.3822 | 1182.1341 |
| Modal | 10 | 0.139 | 7.18 | 45.115 | 2035.3593 |
| Modal | 11 | 0.136 | 7.373 | 46.3254 | 2146.0432 |
| Modal | 12 | 0.128 | 7.82 | 49.1317 | 2413.9285 |

Table 4.8 - Modal Participating Mass Ratios (Part 1 of 2)

| Case | Mode | Period sec | UX | UY | UZ | SumUX | SumUY | SumUZ | RX | RY | RZ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 1.131 | 0.6939 | 0.0002 | 0 | 0.6939 | 0.0002 | 0 | 1.741E-05 | 0.179 | 0.1385 |
| Modal | 2 | 1.095 | 0.0048 | 0.8278 | 0 | 0.6987 | 0.828 | 0 | 0.1677 | 0.0003 | 0.0152 |
| Modal | 3 | 1.01 | 0.1451 | 0.019 | 0 | 0.8438 | 0.8469 | 0 | 0.0043 | 0.0059 | 0.6872 |
| Modal | 4 | 0.344 | 0.0793 | 4.289E-05 | 0 | 0.9231 | 0.847 | 0 | 0.0002 | 0.5475 | 0.017 |
| Modal | 5 | 0.34 | 0.0001 | 0.0894 | 0 | 0.9232 | 0.9364 | 0 | 0.6505 | 0.0005 | 0.0009 |
| Modal | 6 | 0.31 | 0.0136 | 0.0011 | 0 | 0.9368 | 0.9375 | 0 | 0.0084 | 0.0992 | 0.0764 |
| Modal | 7 | 0.194 | 0.0011 | 0.0389 | 0 | 0.938 | 0.9764 | 0 | 0.0805 | 0.0023 | 0.0012 |
| Modal | 8 | 0.191 | 0.041 | 0.0011 | 0 | 0.9789 | 0.9775 | 0 | 0.0022 | 0.0829 | 0.0012 |
| Modal | 9 | 0.183 | 9E-07 | 0.0018 | 0 | 0.9789 | 0.9793 | 0 | 0.0038 | 0 | 0.0406 |
| Modal | 10 | 0.139 | 0.0094 | 0.0033 | 0 | 0.9883 | 0.9826 | 0 | 0.0137 | 0.0371 | 0.006 |
| Modal | 11 | 0.136 | 0.0039 | 0.014 | 0 | 0.9922 | 0.9966 | 0 | 0.0586 | 0.0158 | 0.0001 |
| Modal | 12 | 0.128 | 0.005 | 0.0006 | 0 | 0.9972 | 0.9973 | 0 | 0.0028 | 0.0216 | 0.0125 |

Table 4.8 - Modal Participating Mass Ratios (Part 2 of 2)

| Case | Mode | SumRX | SumRY | SumRZ |
| --- | --- | --- | --- | --- |
| Modal | 1 | 1.741E-05 | 0.179 | 0.1385 |
| Modal | 2 | 0.1677 | 0.1793 | 0.1537 |
| Modal | 3 | 0.172 | 0.1852 | 0.8409 |
| Modal | 4 | 0.1722 | 0.7327 | 0.8579 |
| Modal | 5 | 0.8227 | 0.7332 | 0.8589 |
| Modal | 6 | 0.8311 | 0.8324 | 0.9353 |
| Modal | 7 | 0.9116 | 0.8346 | 0.9364 |
| Modal | 8 | 0.9137 | 0.9175 | 0.9376 |
| Modal | 9 | 0.9175 | 0.9175 | 0.9782 |
| Modal | 10 | 0.9312 | 0.9546 | 0.9841 |
| Modal | 11 | 0.9898 | 0.9704 | 0.9842 |
| Modal | 12 | 0.9926 | 0.992 | 0.9967 |

Table 4.9 - Modal Load Participation Ratios

| Case | ItemType | Item | Static % | Dynamic % |
| --- | --- | --- | --- | --- |
| Modal | Acceleration | UX | 100 | 99.72 |
| Modal | Acceleration | UY | 100 | 99.73 |
| Modal | Acceleration | UZ | 0 | 0 |

Table 4.10 - Modal Direction Factors

| Case | Mode | Period sec | UX | UY | UZ | RZ | UX* | UY* | UZ* | RZ* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 1.131 | 0.851 | 0 | 0 | 0.149 | 0.833 | 0 | 0 | 0.166 |
| Modal | 2 | 1.095 | 0.006 | 0.977 | 0 | 0.017 | 0.006 | 0.976 | 0 | 0.018 |
| Modal | 3 | 1.01 | 0.177 | 0.023 | 0 | 0.8 | 0.17 | 0.022 | 0 | 0.807 |
| Modal | 4 | 0.344 | 0.867 | 0 | 0 | 0.133 | 0.823 | 0 | 0 | 0.176 |
| Modal | 5 | 0.34 | 0.001 | 0.988 | 0 | 0.011 | 0.001 | 0.989 | 0 | 0.01 |
| Modal | 6 | 0.31 | 0.167 | 0.013 | 0 | 0.82 | 0.15 | 0.012 | 0 | 0.838 |
| Modal | 7 | 0.194 | 0.028 | 0.935 | 0 | 0.036 | 0.028 | 0.944 | 0 | 0.028 |
| Modal | 8 | 0.191 | 0.94 | 0.028 | 0 | 0.032 | 0.947 | 0.026 | 0 | 0.027 |
| Modal | 9 | 0.183 | 0.006 | 0.048 | 0 | 0.946 | 0 | 0.042 | 0 | 0.958 |
| Modal | 10 | 0.139 | 0.52 | 0.191 | 0 | 0.289 | 0.503 | 0.178 | 0 | 0.319 |
| Modal | 11 | 0.136 | 0.207 | 0.782 | 0 | 0.01 | 0.216 | 0.778 | 0 | 0.005 |
| Modal | 12 | 0.128 | 0.339 | 0.045 | 0 | 0.616 | 0.276 | 0.035 | 0 | 0.689 |

# 5 Design Data

This chapter provides design data and results.

## 5.1 Concrete Frame Design

Table 5.1 - Concrete Frame Design Preferences - IS 456-2000

| Item | Value |
| --- | --- |
| Multi-Response Design | Step-by-Step - All |
| # Interaction Curves | 24 |
| # Interaction Points | 11 |
| Minimum Eccentricity? | Yes |
| Ignore Beneficial Pu for Beam Design? | Yes |
| Design for BCCR? | Yes |
| Additional Moment? | Yes |
| P-Delta Done? | No |
| Gamma (Steel) | 1.15 |
| Gamma (Concrete) | 1.5 |
| Pattern Live Load Factor | 0.75 |
| Utlization Factor Limit | 1 |